## Metadata
Property | Value
URL | http://hl7.org/fhir/uv/dicom-sr/StructureDefinition/dicom-participant-device
Identifier | OID:2.16.840.1.113883.4.642.40.39.42.4
Version | 1.0.0
Name | ParticipantDevice
Title | Device - DICOM Participant Device Mapping
Status | active
Experimental | false
Date | 2025-10-29T13:52:03+00:00
Publisher | HL7 International / Imaging Integration
Contact | null (http://www.hl7.org/Special/committees/imagemgt)
Contact | HL7 International / Imaging Integration (http://www.hl7.org/Special/committees/imagemgt)
Contact | Jonathan Whitby (jonathan.whitby@mi.medical.canon, http://www.hl7.org/Special/committees/imagemgt)
Contact | Christopher Lindop (Christopher.Lindop@ge.com, http://www.hl7.org/Special/committees/imagemgt)
Jurisdiction | Global (Whole world)
Description | DICOM® Participant to Device Mapping
Purpose
Copyright
FHIR Version | 5.0.0
Kind | resource
Type | Device
Base Definition | http://hl7.org/fhir/StructureDefinition/Device
Abstract | false
Derivation | constraint

## Elements
ID | Path | Slice Name | Alias(s) | Label | Min | Max | Must Support? | Is Modifier? | Is Summary? | Type(s) | Short | Definition | Comments | Requirements | Default Value | Meaning When Missing | Fixed Value | Pattern | Example | Minimum Value | Maximum Value | Maximum Length | Binding Strength | Binding Description | Binding Value Set | Code | Slicing Discriminator | Slicing Description | Slicing Ordered | Slicing Rules | Base Path | Base Min | Base Max | Condition(s) | Constraint(s) | Mapping: DICOM SR Participant Device | Mapping: FiveWs Pattern Mapping | Mapping: RIM Mapping | Mapping: Interface Pattern | Mapping: UDI Mapping
Device | Device |  |  |  | 0 | * |  |  |  |  | Item used in healthcare | A type of a manufactured item that is used in the provision of healthcare without being substantially changed through that activity. The device may be a medical or non-medical device. | [18 empty] | Device | 0 | * |  | dev-1:only one Device.name.display SHALL be true when there is more than one Device.name {name.where(display=true).count() <= 1} dom-2:If the resource is contained in another resource, it SHALL NOT contain nested Resources {contained.contained.empty()}dom-3:If the resource is contained in another resource, it SHALL be referred to from elsewhere in the resource or SHALL refer to the containing resource {contained.where((('#'+id in (%resource.descendants().reference ¦ %resource.descendants().ofType(canonical) ¦ %resource.descendants().ofType(uri) ¦ %resource.descendants().ofType(url))) or descendants().where(reference = '#').exists() or descendants().where(ofType(canonical) = '#').exists() or descendants().where(ofType(canonical) = '#').exists()).not()).trace('unmatched', id).empty()}dom-4:If a resource is contained in another resource, it SHALL NOT have a meta.versionId or a meta.lastUpdated {contained.meta.versionId.empty() and contained.meta.lastUpdated.empty()}dom-5:If a resource is contained in another resource, it SHALL NOT have a security label {contained.meta.security.empty()}dom-6:A resource should have narrative for robust management {text.`div`.exists()} | DICOM Participant Sequence (0040,A07A) | administrative.device | Entity, Role, or Act,Device | Participant
Device.id | Device.id |  |  |  | 0 | 1 |  |  | Y | id | Logical id of this artifact | The logical id of the resource, as used in the URL for the resource. Once assigned, this value never changes. | Within the context of the FHIR RESTful interactions, the resource has an id except for cases like the create and conditional update. Otherwise, the use of the resouce id depends on the given use case. | [17 empty] | Resource.id | 0 | 1
Device.meta | Device.meta |  |  |  | 0 | 1 |  |  | Y | Meta | Metadata about the resource | The metadata about the resource. This is content that is maintained by the infrastructure. Changes to the content might not always be associated with version changes to the resource. | [18 empty] | Resource.meta | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.implicitRules | Device.implicitRules |  |  |  | 0 | 1 |  | Y | Y | uri | A set of rules under which this content was created | A reference to a set of rules that were followed when the resource was constructed, and which must be understood when processing the content. Often, this is a reference to an implementation guide that defines the special rules along with other profiles etc. | Asserting this rule set restricts the content to be only understood by a limited set of trading partners. This inherently limits the usefulness of the data in the long term. However, the existing health eco-system is highly fractured, and not yet ready to define, collect, and exchange data in a generally computable sense. Wherever possible, implementers and/or specification writers should avoid using this element. Often, when used, the URL is a reference to an implementation guide that defines these special rules as part of its narrative along with other profiles, value sets, etc. | [17 empty] | Resource.implicitRules | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.language | Device.language |  |  |  | 0 | 1 |  |  |  | code | Language of the resource content | The base language in which the resource is written. | Language is provided to support indexing and accessibility (typically, services such as text to speech use the language tag). The html language tag in the narrative applies to the narrative. The language tag on the resource may be used to specify the language of other presentations generated from the data in the resource. Not all the content has to be in the base language. The Resource.language should not be assumed to apply to the narrative automatically. If a language is specified, it should it also be specified on the div element in the html (see rules in HTML5 for information about the relationship between xml:lang and the html lang attribute). | [9 empty] | required | IETF language tag for a human language | http://hl7.org/fhir/ValueSet/all-languages¦5.0.0 | [5 empty] | Resource.language | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.text | Device.text |  | narrative htmlxhtmldisplay |  | 0 | 1 |  |  |  | Narrative | Text summary of the resource, for human interpretation | A human-readable narrative that contains a summary of the resource and can be used to represent the content of the resource to a human. The narrative need not encode all the structured data, but is required to contain sufficient detail to make it "clinically safe" for a human to just read the narrative. Resource definitions may define what content should be represented in the narrative to ensure clinical safety. | Contained resources do not have a narrative. Resources that are not contained SHOULD have a narrative. In some cases, a resource may only have text with little or no additional discrete data (as long as all minOccurs=1 elements are satisfied). This may be necessary for data from legacy systems where information is captured as a "text blob" or where text is additionally entered raw or narrated and encoded information is added later. | [17 empty] | DomainResource.text | 0 | 1 | dom-6 | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | Act.text?
Device.contained | Device.contained |  | inline resources anonymous resourcescontained resources |  | 0 | * |  |  |  | Resource | Contained, inline Resources | These resources do not have an independent existence apart from the resource that contains them - they cannot be identified independently, nor can they have their own independent transaction scope. This is allowed to be a Parameters resource if and only if it is referenced by a resource that provides context/meaning. | This should never be done when the content can be identified properly, as once identification is lost, it is extremely difficult (and context dependent) to restore it again. Contained resources may have profiles and tags in their meta elements, but SHALL NOT have security labels. | [17 empty] | DomainResource.contained | 0 | * | dom-2 dom-4dom-3dom-5 |  |  |  | N/A
Device.extension | Device.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the resource. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | DomainResource.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | N/A
Device.modifierExtension | Device.modifierExtension |  | extensions user content |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored | May be used to represent additional information that is not part of the basic definition of the resource and that modifies the understanding of the element that contains it and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer is allowed to define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R5/extensibility.html#modifierExtension). | [16 empty] | DomainResource.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | N/A
Device.identifier | Device.identifier |  |  |  | 0 | 1 | Y |  |  | Identifier | Instance identifier | Unique instance identifiers assigned to a device by manufacturers other organizations or owners. | Certain attributes, like serial number and UDI Carrier (the HRF or AIDC barcode string) are not device instance identifiers as they are not consistently able to uniquely identify the instance of a device, thus are not appropriate to be used to value Device.identifier. The barcode string from a barcode present on a device label or package may identify the instance, include names given to the device in local usage, or may identify the type of device. If the identifier identifies the type of device, Device.type element should be used. The identifier is typically valued if the serialNumber or lotNumber is not valued and represents a different type of identifier. However, it is permissible to still include those identifiers in DeviceDefinition.identifier with the appropriate identifier.type. | [17 empty] | Device.identifier | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | tag(0018,1002) [Device UID] | FiveWs.identifier | .id | Participant.identifier | The serial number which is a component of the production identifier (PI), a conditional, variable portion of a UDI. The identifier.type code should be set to “SNO”(Serial Number) and the system left empty.
Device.displayName | Device.displayName |  |  |  | 0 | 1 | Y |  |  | string | The name used to display by default when the device is referenced | The name used to display by default when the device is referenced. Based on intent of use by the resource creator, this may reflect one of the names in Device.name, or may be another simple name. | [18 empty] | Device.displayName | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | tag(0008,1090) [Manufacturer's Model Name]
Device.definition | Device.definition |  |  |  | 0 | 1 |  |  |  | CodeableReference(DeviceDefinition¦5.0.0) | The reference to the definition for the device | The reference to the definition for the device. | [18 empty] | Device.definition | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.udiCarrier | Device.udiCarrier |  |  |  | 0 | * |  |  | Y | BackboneElement | Unique Device Identifier (UDI) Barcode string | Unique device identifier (UDI) assigned to device label or package. Note that the Device may include multiple udiCarriers as it either may include just the udiCarrier for the jurisdiction it is sold, or for multiple jurisdictions it could have been sold. | UDI may identify an unique instance of a device, or it may only identify the type of the device. See [UDI mappings](http://hl7.org/fhir/R5/device-mappings.html#udi) for a complete mapping of UDI parts to Device. | [17 empty] | Device.udiCarrier | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.identifier | .id and .code
Device.udiCarrier.id | Device.udiCarrier.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 | ele-1 |  |  |  | n/a
Device.udiCarrier.extension | Device.udiCarrier.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | n/a
Device.udiCarrier.modifierExtension | Device.udiCarrier.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R5/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | N/A
Device.udiCarrier.deviceIdentifier | Device.udiCarrier.deviceIdentifier |  | DI |  | 1 | 1 |  |  | Y | string | Mandatory fixed portion of UDI | The device identifier (DI) is a mandatory, fixed portion of a UDI that identifies the labeler and the specific version or model of a device. | [18 empty] | Device.udiCarrier.deviceIdentifier | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x] | Role.id.extension |  | The device identifier (DI), a mandatory, fixed portion of a UDI that identifies the labeler and the specific version or model of a device.
Device.udiCarrier.issuer | Device.udiCarrier.issuer |  | Barcode System |  | 1 | 1 |  |  | Y | uri | UDI Issuing Organization | Organization that is charged with issuing UDIs for devices. For example, the US FDA issuers include: 1) GS1: http://hl7.org/fhir/NamingSystem/gs1-di, 2) HIBCC: http://hl7.org/fhir/NamingSystem/hibcc-diI, 3) ICCBBA for blood containers: http://hl7.org/fhir/NamingSystem/iccbba-blood-di, 4) ICCBA for other devices: http://hl7.org/fhir/NamingSystem/iccbba-other-di # Informationsstelle für Arzneispezialitäten (IFA GmbH) (EU only): http://hl7.org/fhir/NamingSystem/ifa-gmbh-di. | [18 empty] | Device.udiCarrier.issuer | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | Role.id.root |  | All UDIs are to be issued under a system operated by an Jurisdiction-accredited issuing agency. GS1 DIs: http://hl7.org/fhir/NamingSystem/gs1 HIBCC DIs: http://hl7.org/fhir/NamingSystem/hibcc ICCBBA DIs for blood containers: http://hl7.org/fhir/NamingSystem/iccbba-blood ICCBA DIs for other devices: http://hl7.org/fhir/NamingSystem/iccbba-other
Device.udiCarrier.jurisdiction | Device.udiCarrier.jurisdiction |  |  |  | 0 | 1 |  |  |  | uri | Regional UDI authority | The identity of the authoritative source for UDI generation within a jurisdiction. All UDIs are globally unique within a single namespace with the appropriate repository uri as the system. For example, UDIs of devices managed in the U.S. by the FDA, the value is http://hl7.org/fhir/NamingSystem/us-fda-udi or in the European Union by the European Commission http://hl7.org/fhir/NamingSystem/eu-ec-udi. |  | Allows a recipient of a UDI to know which database will contain the UDI-associated metadata. | [16 empty] | Device.udiCarrier.jurisdiction | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | Role.scoper
Device.udiCarrier.carrierAIDC | Device.udiCarrier.carrierAIDC |  | Automatic Identification and Data Capture |  | 0 | 1 |  |  | Y | base64Binary | UDI Machine Readable Barcode String | The full UDI carrier of the Automatic Identification and Data Capture (AIDC) technology representation of the barcode string as printed on the packaging of the device - e.g., a barcode or RFID. Because of limitations on character sets in XML and the need to round-trip JSON data through XML, AIDC Formats *SHALL* be base64 encoded. | The AIDC form of UDIs should be scanned or otherwise used for the identification of the device whenever possible to minimize errors in records resulting from manual transcriptions. If separate barcodes for DI and PI are present, concatenate the string with DI first and in order of human readable expression on label. | [17 empty] | Device.udiCarrier.carrierAIDC | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | Role.id.extension |  | A unique device identifier (UDI) on a device label a form that uses automatic identification and data capture (AIDC) technology.
Device.udiCarrier.carrierHRF | Device.udiCarrier.carrierHRF |  | Human Readable Form |  | 0 | 1 |  |  | Y | string | UDI Human Readable Barcode String | The full UDI carrier as the human readable form (HRF) representation of the barcode string as printed on the packaging of the device. | If separate barcodes for DI and PI are present, concatenate the string with DI first and in order of human readable expression on label. | [17 empty] | Device.udiCarrier.carrierHRF | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | Role.id.extension |  | A unique device identifier (UDI) on a device label in plain text
Device.udiCarrier.entryType | Device.udiCarrier.entryType |  |  |  | 0 | 1 |  |  |  | code | barcode ¦ rfid ¦ manual ¦ card ¦ self-reported ¦ electronic-transmission ¦ unknown | A coded entry to indicate how the data was entered. |  | Supports a way to distinguish hand entered from machine read data. | [8 empty] | required | Codes to identify how UDI data was entered. | http://hl7.org/fhir/ValueSet/udi-entry-type¦5.0.0 | [5 empty] | Device.udiCarrier.entryType | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | NA
Device.status | Device.status |  |  |  | 0 | 1 |  | Y | Y | code | active ¦ inactive ¦ entered-in-error | The Device record status. This is not the status of the device like availability. | [10 empty] | required | The record status of the device. | http://hl7.org/fhir/ValueSet/device-status¦5.0.0 | [5 empty] | Device.status | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.status | .statusCode | Participant.active
Device.availabilityStatus | Device.availabilityStatus |  |  |  | 0 | 1 |  |  |  | CodeableConcept | lost ¦ damaged ¦ destroyed ¦ available | The availability of the device. | [10 empty] | extensible | The availability status reason of the device. | http://hl7.org/fhir/ValueSet/device-availability-status¦5.0.0 | [5 empty] | Device.availabilityStatus | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.status
Device.biologicalSourceEvent | Device.biologicalSourceEvent |  | Distinct Identification Code (DIC) |  | 0 | 1 |  |  |  | Identifier | An identifier that supports traceability to the event during which material in this product from one or more biological entities was obtained or pooled | An identifier that supports traceability to the event during which material in this product from one or more biological entities was obtained or pooled. | Necessary to support mandatory requirements for traceability from donor/source to recipient and vice versa, while also satisfying donor anonymity requirements. The element is defined consistently across BiologicallyDerivedProduct, NutritionProduct, and Device. The identifier references an event that links to a single biological entity such as a blood donor, or to multiple biological entities (e.g. when the product is an embryo or a pooled platelet product). A single biologicalSourceEvent identifier may appear on multiple products of many types derived from a single donation event or source extraction. As an example, a single donation event may provide 2 kidneys and a liver for organ transplantation, 2 corneas for eye surgery, heart valves and arterial tissue for cardiovascular surgery, multiple skin grafts, tendons, multiple shaped bone grafts and a large number of bone putty/paste products; and each of them may be assigned to the same biological source event identifier. | [17 empty] | Device.biologicalSourceEvent | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x]
Device.manufacturer | Device.manufacturer |  |  |  | 0 | 1 |  |  |  | string | Name of device manufacturer | A name of the manufacturer or entity legally responsible for the device. | [18 empty] | Device.manufacturer | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | tag(0008,0070) [Manufacturer] | FiveWs.what[x] | .playedRole[typeCode=MANU].scoper.name |  | N/A
Device.manufactureDate | Device.manufactureDate |  |  |  | 0 | 1 |  |  |  | dateTime | Date when the device was made | The date and time when the device was manufactured. | [18 empty] | Device.manufactureDate | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x] | .existenceTime.low |  | The date a specific device was manufactured - which is a component of the production identifier (PI), a conditional, variable portion of a UDI. For FHIR, The datetime syntax must converted to YYYY-MM-DD[THH:MM:SS]. If hour is present, the minutes and seconds should both be set to “00”.
Device.expirationDate | Device.expirationDate |  |  |  | 0 | 1 |  |  |  | dateTime | Date and time of expiry of this device (if applicable) | The date and time beyond which this device is no longer valid or should not be used (if applicable). | [18 empty] | Device.expirationDate | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x] | .expirationTime |  | the expiration date of a specific device - which is a component of the production identifier (PI), a conditional, variable portion of a UDI. For FHIR, The datetime syntax must converted to YYYY-MM-DD[THH:MM:SS]. If hour is present, the minutes and seconds should both be set to “00”.
Device.lotNumber | Device.lotNumber |  |  |  | 0 | 1 |  |  |  | string | Lot number of manufacture | Lot number assigned by the manufacturer. | [18 empty] | Device.lotNumber | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x] | .lotNumberText |  | The lot or batch number within which a device was manufactured - which is a component of the production identifier (PI), a conditional, variable portion of a UDI.
Device.serialNumber | Device.serialNumber |  |  |  | 0 | 1 |  |  |  | string | Serial number assigned by the manufacturer | The serial number assigned by the organization when the device was manufactured. | Alphanumeric Maximum 20. While a serial number is a type of identifier, in the context of devices for which a UDI is required, thus a serial number may be part of the production identifier, it is more informative to have the serial number as a dedicated attribute together with the other UDI production identifier. When the device is not subject to including the UDI (e.g., its presence and exchange is not mandated by local regulatory requirements or specific use case at hand), thus the concept of production identifiers is not relevant as a set, it remains helpful for consistency to still use Device.serialNumber rather than using Device.identifier with an appropriate type. Systems that do not realize an identifier is a serial number may place it in Device.identifier or if the identifier.system is known for the serial number, it may also be populated in the Device.identifier as a globally unique id_. | [17 empty] | Device.serialNumber | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x] | .playedRole[typeCode=MANU].id
Device.name | Device.name |  |  |  | 0 | * |  |  |  | BackboneElement | The name or names of the device as known to the manufacturer and/or patient | This represents the manufacturer's name of the device as provided by the device, from a UDI label, or by a person describing the Device. This typically would be used when a person provides the name(s) or when the device represents one of the names available from DeviceDefinition. | [18 empty] | Device.name | 0 | * | dev-1 | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  |  | Participant.name
Device.name.id | Device.name.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 | ele-1 |  |  |  | n/a
Device.name.extension | Device.name.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | n/a
Device.name.modifierExtension | Device.name.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R5/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | N/A
Device.name.value | Device.name.value |  | Σ |  | 1 | 1 |  |  | Y | string | The term that names the device | The actual name that identifies the device. | [18 empty] | Device.name.value | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.name.type | Device.name.type |  |  |  | 1 | 1 |  |  | Y | code | registered-name ¦ user-friendly-name ¦ patient-reported-name | Indicates the kind of name. RegisteredName ¦ UserFriendlyName ¦ PatientReportedName. | [10 empty] | required | The type of name the device is referred by. | http://hl7.org/fhir/ValueSet/device-nametype¦5.0.0 | [5 empty] | Device.name.type | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x] | .playedRole[typeCode=MANU].code
Device.name.display | Device.name.display |  |  |  | 0 | 1 |  | Y | Y | boolean | The preferred device name | Indicates the default or preferred name to be displayed. | [18 empty] | Device.name.display | 0 | 1 | dev-1 | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.status | statusCode
Device.modelNumber | Device.modelNumber |  |  |  | 0 | 1 |  |  |  | string | The manufacturer's model number for the device | The manufacturer's model number for the device. | [18 empty] | Device.modelNumber | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x] | .softwareName (included as part)
Device.partNumber | Device.partNumber |  |  |  | 0 | 1 |  |  |  | string | The part number or catalog number of the device | The part number or catalog number of the device. | Alphanumeric Maximum 20. | [17 empty] | Device.partNumber | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x] | .playedRole[typeCode=MANU].id
Device.category | Device.category |  |  |  | 0 | * |  |  |  | CodeableConcept | Indicates a high-level grouping of the device | Devices may be associated with one or more categories. | [10 empty] | example | Categories of medical devices. | http://hl7.org/fhir/ValueSet/device-category¦5.0.0 | [5 empty] | Device.category | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.type | Device.type |  |  |  | 0 | * |  |  |  | CodeableConcept | The kind or type of device | The kind or type of device. A device instance may have more than one type - in which case those are the types that apply to the specific instance of the device. | Multiple device types are use when a device is categorized in more than one context – for example, hybrid devices in which the device is both of type gateway and sensor. | [9 empty] | example | Codes to identify medical devices. | http://hl7.org/fhir/ValueSet/device-type¦5.0.0 | [5 empty] | Device.type | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.version | Device.version |  |  |  | 0 | * |  |  |  | BackboneElement | The actual design of the device or software version running on the device | The actual design of the device or software version running on the device. | [18 empty] | Device.version | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.version.id | Device.version.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 | ele-1 |  |  |  | n/a
Device.version.extension | Device.version.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | n/a
Device.version.modifierExtension | Device.version.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R5/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | N/A
Device.version.type | Device.version.type |  | Σ |  | 0 | 1 |  |  |  | CodeableConcept | The type of the device version, e.g. manufacturer, approved, internal | The type of the device version, e.g. manufacturer, approved, internal. | [10 empty] | example | The type of version indicated for the device. | http://hl7.org/fhir/ValueSet/device-versiontype¦5.0.0 | [5 empty] | Device.version.type | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.version.component | Device.version.component |  |  |  | 0 | 1 |  |  |  | Identifier | The hardware or software module of the device to which the version applies | The hardware or software module of the device to which the version applies. | Note that the module of the device would not need to be tracked as a separate device, e.g., using different UDI, thus would typically involve one or more software modules. For example, a device may involve two software modules each on a different version. | [17 empty] | Device.version.component | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x]
Device.version.installDate | Device.version.installDate |  |  |  | 0 | 1 |  |  |  | dateTime | The date the version was installed on the device | The date the version was installed on the device. | [18 empty] | Device.version.installDate | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x]
Device.version.value | Device.version.value |  |  |  | 1 | 1 |  |  |  | string | The version text | The version text. | [18 empty] | Device.version.value | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.conformsTo | Device.conformsTo |  |  |  | 0 | * |  |  |  | BackboneElement | Identifies the standards, specifications, or formal guidances for the capabilities supported by the device | Identifies the standards, specifications, or formal guidances for the capabilities supported by the device. The device may be certified as conformant to these specifications e.g., communication, performance, process, measurement, or specialization standards. | [18 empty] | Device.conformsTo | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.conformsTo.id | Device.conformsTo.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 | ele-1 |  |  |  | n/a
Device.conformsTo.extension | Device.conformsTo.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | n/a
Device.conformsTo.modifierExtension | Device.conformsTo.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R5/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | N/A
Device.conformsTo.category | Device.conformsTo.category |  |  |  | 0 | 1 |  |  |  | CodeableConcept | Describes the common type of the standard, specification, or formal guidance. communication ¦ performance ¦ measurement | Describes the type of the standard, specification, or formal guidance. | [10 empty] | example | The kind of standards used by the device. | http://hl7.org/fhir/ValueSet/device-specification-category¦5.0.0 | [5 empty] | Device.conformsTo.category | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.conformsTo.specification | Device.conformsTo.specification |  |  |  | 1 | 1 |  |  |  | CodeableConcept | Identifies the standard, specification, or formal guidance that the device adheres to | Code that identifies the specific standard, specification, protocol, formal guidance, regulation, legislation, or certification scheme to which the device adheres. | [10 empty] | example | The type of version indicated for the device. | http://hl7.org/fhir/ValueSet/device-specification-type¦5.0.0 | [5 empty] | Device.conformsTo.specification | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.conformsTo.version | Device.conformsTo.version |  |  |  | 0 | 1 |  |  |  | string | Specific form or variant of the standard | Identifies the specific form or variant of the standard, specification, or formal guidance. This may be a 'version number', release, document edition, publication year, or other label. | [18 empty] | Device.conformsTo.version | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.property | Device.property |  |  |  | 0 | * |  |  |  | BackboneElement | Inherent, essentially fixed, characteristics of the device. e.g., time properties, size, material, etc. | Static or essentially fixed characteristics or features of the device (e.g., time or timing attributes, resolution, accuracy, intended use or instructions for use, and physical attributes) that are not otherwise captured in more specific attributes. | Dynamic or current properties, such as settings, of an individual device are described using a Device instance-specific [DeviceMetric] and recorded using [Observation]. Static characteristics of a device could also be documented in an associated [DeviceDefinition] instance. The Device instance's properties, and their values, could be, but need not be, the same as those described in an associated DeviceDefinition. | [17 empty] | Device.property | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.property.id | Device.property.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 | ele-1 |  |  |  | n/a
Device.property.extension | Device.property.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | n/a
Device.property.modifierExtension | Device.property.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R5/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  |  | N/A
Device.property.type | Device.property.type |  |  |  | 1 | 1 |  |  |  | CodeableConcept | Code that specifies the property being represented | Code that specifies the property, such as resolution, color, size, being represented. | [10 empty] | example | Device property type. | http://hl7.org/fhir/ValueSet/device-property-type¦5.0.0 | [5 empty] | Device.property.type | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.property.value[x] | Device.property.value[x] |  |  |  | 1 | 1 |  |  |  | Quantity CodeableConceptstringbooleanintegerRangeAttachment | Value of the property | The value of the property specified by the associated property.type code. | The text element in CodeableConcept.text is used for properties which would usually be coded (such as the size of an implant, or a security classification) but for which there is not currently an appropriate concept in the vocabulary (e.g. a custom implant size, or a security classification which depends on configuration). Otherwise the string choice type is used for descriptive properties, or instructions. | [17 empty] | Device.property.value[x] | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.mode | Device.mode |  |  |  | 0 | 1 |  |  |  | CodeableConcept | The designated condition for performing a task | The designated condition for performing a task with the device. | [10 empty] | example | Operational mode of a device. | http://hl7.org/fhir/ValueSet/device-operation-mode¦5.0.0 | [5 empty] | Device.mode | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.cycle | Device.cycle |  |  |  | 0 | 1 |  |  |  | Count | The series of occurrences that repeats during the operation of the device | The series of occurrences that repeats during the operation of the device. | [18 empty] | Device.cycle | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.duration | Device.duration |  |  |  | 0 | 1 |  |  |  | Duration | A measurement of time during the device's operation (e.g., days, hours, mins, etc.) | A measurement of time during the device's operation (e.g., days, hours, mins, etc.). | [18 empty] | Device.duration | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.owner | Device.owner |  |  |  | 0 | 1 |  |  |  | Reference(Organization¦5.0.0) | Organization responsible for device | An organization that is responsible for the provision and ongoing maintenance of the device. | [18 empty] | Device.owner | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.source | .playedRole[typeCode=OWN].scoper
Device.contact | Device.contact |  |  |  | 0 | * |  |  |  | ContactPoint | Details for human/organization for support | Contact details for an organization or a particular human that is responsible for the device. | used for troubleshooting etc. | [17 empty] | Device.contact | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.source | .scopedRole[typeCode=CON].player
Device.location | Device.location |  |  |  | 0 | 1 |  |  |  | Reference(Location¦5.0.0) | Where the device is found | The place where the device can be found. |  | Device.location can be used to track device location. | [16 empty] | Device.location | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.where[x] | .playedRole[typeCode=LOCE].scoper
Device.url | Device.url |  |  |  | 0 | 1 |  |  |  | uri | Network address to contact device | A network address on which the device may be contacted directly. | If the device is running a FHIR server, the network address should be the Base URL from which a conformance statement may be retrieved. | [17 empty] | Device.url | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.where[x] | .telecom
Device.endpoint | Device.endpoint |  |  |  | 0 | * |  |  |  | Reference(Endpoint¦5.0.0) | Technical endpoints providing access to electronic services provided by the device | Technical endpoints providing access to services provided by the device defined at this resource. | [18 empty] | Device.endpoint | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | n/a
Device.gateway | Device.gateway |  |  |  | 0 | * |  |  |  | CodeableReference(Device¦5.0.0) | Linked device acting as a communication/data collector, translator or controller | The linked device acting as a communication controller, data collector, translator, or concentrator for the current device (e.g., mobile phone application that relays a blood pressure device's data). | The Device.gateway may be used when the Device being referenced has a gateway and/or to capture one or more gateways associated with the device. If the Gateway is included in the Observation resource, the Observation.gatewayDevice should be used instead. | [17 empty] | Device.gateway | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.note | Device.note |  |  |  | 0 | * |  |  |  | Annotation | Device notes and comments | Descriptive information, usage information or implantation information that is not captured in an existing element. | [18 empty] | Device.note | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .text
Device.safety | Device.safety |  |  |  | 0 | * |  |  | Y | CodeableConcept | Safety Characteristics of Device | Provides additional safety characteristics about a medical device. For example devices containing latex. | [10 empty] | example |  | http://hl7.org/fhir/ValueSet/device-safety¦5.0.0 | [5 empty] | Device.safety | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | NA
Device.parent | Device.parent |  |  |  | 0 | 1 |  |  |  | Reference(Device¦5.0.0) | The higher level or encompassing device that this device is a logical part of | The higher level or encompassing device that this device is a logical part of. | For example a vital signs monitor (parent) where three separate modules can be plugged into such as interchangeable blood pressure, oximeter, temperature modules. These modules are represented as devices with the .parent valued to the vital signs monitor when plugged in. | [17 empty] | Device.parent | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}