## Metadata
Property | Value
URL | http://hl7.org/fhir/StructureDefinition/ImagingStudy
Version | 6.0.0-ballot2
Name | ImagingStudy
Title
Status | draft
Experimental | false
Date | 2025-03-18T15:14:19+00:00
Publisher | HL7 International / Imaging Integration
Contact | null (http://www.hl7.org/Special/committees/fiwg)
Contact | null (http://www.hl7.org/Special/committees/imagemgt)
Jurisdiction | World
Description | Representation of the content produced in a DICOM imaging study. A study comprises a set of series, each of which includes a set of Service-Object Pair Instances (SOP Instances - images or other data) acquired or produced in a common context. A series is of only one modality (e.g. X-ray, CT, MR, ultrasound), but a study may have multiple series of different modality values.
Purpose
Copyright
FHIR Version | 6.0.0-ballot2
Kind | resource
Type | ImagingStudy
Base Definition | http://hl7.org/fhir/StructureDefinition/DomainResource
Abstract | false
Derivation | specialization

## Elements
ID | Path | Slice Name | Alias(s) | Label | Min | Max | Must Support? | Is Modifier? | Is Summary? | Type(s) | Short | Definition | Comments | Requirements | Default Value | Meaning When Missing | Fixed Value | Pattern | Example | Minimum Value | Maximum Value | Maximum Length | Binding Strength | Binding Description | Binding Value Set | Code | Slicing Discriminator | Slicing Description | Slicing Ordered | Slicing Rules | Base Path | Base Min | Base Max | Condition(s) | Constraint(s) | Mapping: Workflow Pattern | Mapping: FiveWs Pattern Mapping | Mapping: RIM Mapping | Mapping: DICOM Tag Mapping | Mapping: HL7 V2 Mapping
ImagingStudy | ImagingStudy |  |  |  | 0 | * |  |  |  |  | A set of images or image-related data produced in single study | Representation of the content produced in a DICOM imaging study. A study comprises a set of series, each of which includes a set of Service-Object Pair Instances (SOP Instances - images or other data) acquired or produced in a common context. A series is of only one modality (e.g. X-ray, CT, MR, ultrasound), but a study may have multiple series of different modality values. | [18 empty] | ImagingStudy | 0 | * |  | dom-2:If the resource is contained in another resource, it SHALL NOT contain nested Resources {contained.contained.empty()} dom-3:If the resource is contained in another resource, it SHALL be referred to from elsewhere in the resource or SHALL refer to the containing resource {contained.where((('#'+id.trace('id') in %resource.descendants().select(reference ¦ as(uri))) or descendants().where(reference='#' ¦ as(uri)='#').exists()).not()).trace('unmatched', id).empty()}dom-4:If a resource is contained in another resource, it SHALL NOT have a meta.versionId or a meta.lastUpdated {contained.meta.versionId.empty() and contained.meta.lastUpdated.empty()}dom-5:If a resource is contained in another resource, it SHALL NOT have a security label {contained.meta.security.empty()}dom-6:A resource should have narrative for robust management {text.`div`.exists()} | Event | clinical.diagnostics | Entity, Role, or Act,Act[classCode=COMPOSITION, moodCode=EVN] | DICOM Tag Mapping
ImagingStudy.id | ImagingStudy.id |  |  |  | 0 | 1 |  |  | Y | id | Logical id of this artifact | The logical id of the resource, as used in the URL for the resource. Once assigned, this value never changes. | Within the context of the FHIR RESTful interactions, the resource has an id except for cases like the create and conditional update. Otherwise, the use of the resouce id depends on the given use case. | [17 empty] | Resource.id | 0 | 1
ImagingStudy.meta | ImagingStudy.meta |  |  |  | 0 | 1 |  |  | Y | Meta | Metadata about the resource | The metadata about the resource. This is content that is maintained by the infrastructure. Changes to the content might not always be associated with version changes to the resource. | [18 empty] | Resource.meta | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
ImagingStudy.implicitRules | ImagingStudy.implicitRules |  |  |  | 0 | 1 |  | Y | Y | uri | A set of rules under which this content was created | A reference to a set of rules that were followed when the resource was constructed, and which must be understood when processing the content. Often, this is a reference to an implementation guide that defines the special rules along with other profiles etc. | Asserting this rule set restricts the content to be only understood by a limited set of trading partners. This inherently limits the usefulness of the data in the long term. However, the existing health eco-system is highly fractured, and not yet ready to define, collect, and exchange data in a generally computable sense. Wherever possible, implementers and/or specification writers should avoid using this element. Often, when used, the URL is a reference to an implementation guide that defines these special rules as part of its narrative along with other profiles, value sets, etc. | [17 empty] | Resource.implicitRules | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
ImagingStudy.language | ImagingStudy.language |  |  |  | 0 | 1 |  |  |  | code | Language of the resource content | The base language in which the resource is written. | Language is provided to support indexing and accessibility (typically, services such as text to speech use the language tag). The html language tag in the narrative applies to the narrative. The language tag on the resource may be used to specify the language of other presentations generated from the data in the resource. Not all the content has to be in the base language. The Resource.language should not be assumed to apply to the narrative automatically. If a language is specified, it should it also be specified on the div element in the html (see rules in HTML5 for information about the relationship between xml:lang and the html lang attribute). | [9 empty] | required | IETF language tag for a human language | http://hl7.org/fhir/ValueSet/all-languages¦6.0.0-ballot2 | [5 empty] | Resource.language | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
ImagingStudy.text | ImagingStudy.text |  | narrative htmlxhtmldisplay |  | 0 | 1 |  |  |  | Narrative | Text summary of the resource, for human interpretation | A human-readable narrative that contains a summary of the resource and can be used to represent the content of the resource to a human. The narrative need not encode all the structured data, but is required to contain sufficient detail to make it "clinically safe" for a human to just read the narrative. Resource definitions may define what content should be represented in the narrative to ensure clinical safety. | Contained resources do not have a narrative. Resources that are not contained SHOULD have a narrative. In some cases, a resource may only have text with little or no additional discrete data (as long as all minOccurs=1 elements are satisfied). This may be necessary for data from legacy systems where information is captured as a "text blob" or where text is additionally entered raw or narrated and encoded information is added later. | [17 empty] | DomainResource.text | 0 | 1 | dom-6 | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | Act.text?
ImagingStudy.contained | ImagingStudy.contained |  | inline resources anonymous resourcescontained resources |  | 0 | * |  |  |  | Resource | Contained, inline Resources | These resources do not have an independent existence apart from the resource that contains them - they cannot be identified independently, nor can they have their own independent transaction scope. This is allowed to be a Parameters resource if and only if it is referenced by a resource that provides context/meaning. | This should never be done when the content can be identified properly, as once identification is lost, it is extremely difficult (and context dependent) to restore it again. Contained resources may have profiles and tags in their meta elements, but SHALL NOT have security labels. Contained resources may be a resource type defined in the FHIR specification, or an [additional resource](resource.html#additional). | [17 empty] | DomainResource.contained | 0 | * | dom-2 dom-4dom-3dom-5 |  |  |  | N/A
ImagingStudy.extension | ImagingStudy.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the resource. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | DomainResource.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | N/A
ImagingStudy.modifierExtension | ImagingStudy.modifierExtension |  | extensions user content |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored | May be used to represent additional information that is not part of the basic definition of the resource and that modifies the understanding of the element that contains it and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer is allowed to define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](extensibility.html#modifierExtension). | [16 empty] | DomainResource.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | N/A
ImagingStudy.identifier | ImagingStudy.identifier |  | StudyInstanceUID |  | 0 | * |  |  | Y | Identifier | Business identifier for imaging study | Business identifiers assigned to this imaging study by the performer and/or other systems. These identifiers remain constant as the resource is updated and propagates from server to server. Typically this will include the DICOM Study Instance UID. | Note: This is a business identifier, not a resource identifier (see [discussion](resource.html#identifiers)). It is best practice for the identifier to only appear on a single resource instance, however business practices may occasionally dictate that multiple resource instances with the same identifier can exist - possibly even with different resource types. For example, multiple Patient and a Person resource instance might share the same social insurance number, or an accession number may be used to relate a Task, an ImagingStudy and a DiagnosticReport. See discussion under [Imaging Study Implementation Notes](imagingstudy.html#dicom-uids) for encoding of DICOM Study Instance UID. | Allows identification of the imaging study as it is known by various participating systems and in a way that remains consistent across servers. ImagingStudy.identifier include exactly one Study Instance UID value if one or more series element values are present (see [DICOM PS 3.3 C.7.2](http://dicom.nema.org/medical/dicom/current/output/chtml/part03/sect_C.7.2.html).) | [16 empty] | ImagingStudy.identifier | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.identifier | FiveWs.identifier | .id and .inboundRelationship[typeCode=COMP].source[classCode=ACSN, moodCode=EVN].id | Study Instance UID (0020,000D) and / or Study ID (0020,0010)
ImagingStudy.status | ImagingStudy.status |  |  |  | 1 | 1 |  | Y | Y | code | registered ¦ available ¦ cancelled ¦ entered-in-error ¦ unknown ¦ inactive | The current state of the imaging study. This is distinct from the status of any service request or task associated with the imaging study. | Unknown does not represent "other" - one of the defined statuses must apply. Unknown is used when the authoring system is not sure what the current status is. | [9 empty] | required | The status of the ImagingStudy. | http://hl7.org/fhir/ValueSet/imagingstudy-status¦6.0.0-ballot2 | [5 empty] | ImagingStudy.status | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.status | FiveWs.status | .status |  | Varies by domain
ImagingStudy.modality | ImagingStudy.modality |  | ModalitiesInStudy |  | 0 | * |  |  | Y | CodeableConcept | The distinct values for series' modalities | All the distinct values of series.modality. This may be either an acquisition or a non-acquisition modality. | [10 empty] | extensible | Type of acquired data in the instance. | http://dicom.nema.org/medical/dicom/current/output/chtml/part16/sect_CID_33.html | [5 empty] | ImagingStudy.modality | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.class | .code | Modalities in Study (0008,0061) or Modality (0008,0060)
ImagingStudy.subject | ImagingStudy.subject |  |  |  | 1 | 1 |  |  | Y | Reference(Patient¦Device¦Group) | Who or what is the subject of the study | The subject, typically a patient, of the imaging study. | QA phantoms can be recorded with a Device; multiple subjects (such as mice) can be recorded with a Group. | [17 empty] | ImagingStudy.subject | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.subject | FiveWs.subject[x] | .participation[typeCode=SBJ].role | Patient ID (0010,0020) and Issuer of Patient ID (0010,0021) and / or Issuer of Patient ID Qualifiers Sequence (0010,0024). Patient Name 90010,0010)
ImagingStudy.encounter | ImagingStudy.encounter |  |  |  | 0 | 1 |  |  | Y | Reference(Encounter) | Encounter with which this imaging study is associated | The healthcare event (e.g. a patient and healthcare provider interaction) during which this ImagingStudy is made. | This will typically be the encounter the event occurred within, but some events MAY be initiated prior to or after the official completion of an encounter but still be tied to the context of the encounter (e.g. pre-admission test). | [17 empty] | ImagingStudy.encounter | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.encounter | FiveWs.context | inboundRelationship[typeCode=COMP].source[classCode=ENC, moodCode=EVN]
ImagingStudy.started | ImagingStudy.started |  | StudyDate StudyTime |  | 0 | 1 |  |  | Y | dateTime | When the study was started | Date and time the study started. | [6 empty] | 2011-01-01T11:01:20+03:00 | [11 empty] | ImagingStudy.started | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.occurrence[x] | FiveWs.init | .effectiveTime | Study Date (0008,0020) and Study Time (0008,0030)
ImagingStudy.basedOn | ImagingStudy.basedOn |  | AccessionNumber |  | 0 | * |  |  | Y | Reference(CarePlan¦ServiceRequest¦Appointment¦Task) | Fulfills plan or order | A plan or order that is fulfilled in whole or in part by this imaging study. | One imaging study MAY support multiple ordered procedures, e.g. chest/abdomen/pelvis CT orders being fulfilled by a single imaging study. | Allows tracing of authorization for the imaging study and tracking whether proposals/recommendations were acted upon. If the ImagingStudy is associated with an Accession Number, this field should include a reference to that value in the form: identifier.value = (Accession Number Value) identifier.type = ACSN. A reference value pointing to a ServiceRequest resource is allowed but is not required. | [16 empty] | ImagingStudy.basedOn | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.basedOn | FiveWs.cause | .outboundRelationship[typeCode=FLFS].target[classCode=DGIMG, moodCode=RQO] | Accession Number (0080,0050) and Issuer of Accession Number Sequence (0080,0051)
ImagingStudy.partOf | ImagingStudy.partOf |  |  |  | 0 | * |  |  | Y | Reference(Procedure) | Part of referenced event | A larger event of which this particular ImagingStudy is a component or step. For example, an ImagingStudy as part of a procedure. | To link an ImagingStudy to an Encounter use `encounter`. | [17 empty] | ImagingStudy.partOf | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.partOf |  | .outboundRelationship[typeCode=FLFS].target |  | Varies by domain
ImagingStudy.referrer | ImagingStudy.referrer |  | ReferringPhysiciansName |  | 0 | 1 |  |  | Y | Reference(Practitioner¦PractitionerRole) | Referring physician | The referring physician. | [18 empty] | ImagingStudy.referrer | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.cause | .outboundRelationship[typeCode=FLFS].target[classCode=DGIMG, moodCode=RQO].participation[typeCode=AUT].role | Referring Physician's Name (0008,0090) and Referring Physician Identification Sequence (0008,0096)
ImagingStudy.endpoint | ImagingStudy.endpoint |  |  |  | 0 | * |  |  | Y | Reference(Endpoint) | Study access endpoint | The network service providing access (e.g., query, view, or retrieval) for the study. See implementation notes for information about using DICOM endpoints. A study-level endpoint applies to each series in the study, unless overridden by a series-level endpoint with the same Endpoint.connectionType. | Typical endpoint types include DICOM WADO-RS, which is used to retrieve DICOM instances in native or rendered (e.g., JPG, PNG), formats using a RESTful API; DICOM WADO-URI, which can similarly retrieve native or rendered instances, except using an HTTP query-based approach; DICOM QIDO-RS, which allows RESTful query for DICOM information without retrieving the actual instances; or IHE Invoke Image Display (IID), which provides standard invocation of an imaging web viewer. See [Imaging Study Implementation Notes on Endpoints](imagingstudy.html#endpoints). | Access methods for viewing (e.g., IHE's IID profile) or retrieving (e.g., DICOM's WADO-URI and WADO-RS) the study or the study's series or instances. The study-level baseLocation applies to each series in the study, unless overridden in series by a series-level baseLocation of the same type. | [16 empty] | ImagingStudy.endpoint | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | Not supported
ImagingStudy.procedure | ImagingStudy.procedure |  |  |  | 0 | * |  |  | Y | CodeableReference(PlanDefinition¦ActivityDefinition) | Associated procedure(s) | A procedure or set of procedures during which this imaging study data was created. | [10 empty] | preferred | Use of RadLex is preferred | http://loinc.org/vs/loinc-rsna-radiology-playbook | [5 empty] | ImagingStudy.procedure | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.partOf |  | .outboundRelationship[typeCode=COMP].target[classCode=PROC, moodCode=EVN] | Procedure Code Sequence (0008,1032)
ImagingStudy.location | ImagingStudy.location |  |  |  | 0 | 1 |  |  | Y | Reference(Location) | Where imaging study occurred | The principal physical location where the imaging study was performed. |  | Ties the event to where the records are likely kept and provides context around the event occurrence (e.g. if it occurred inside or outside a dedicated healthcare setting). | [16 empty] | ImagingStudy.location | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.location | FiveWs.where[x] | .participation[typeCode=LOC].role | Institutional Department Name (0008,1040) and Institutional Department Type Code Sequence (0008,1041) | EVN-7
ImagingStudy.reason | ImagingStudy.reason |  |  |  | 0 | * |  |  | Y | CodeableReference(Condition¦Observation¦DiagnosticReport¦DocumentReference) | Why was imaging study performed? | Describes why the imaging study occurred in coded or textual form or indicates another resource whose existence justifies this imaging study. | [10 empty] | example | The reason for the study. | http://hl7.org/fhir/ValueSet/procedure-reason | [5 empty] | ImagingStudy.reason | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.reason | FiveWs.why[x] | .reasonCode | Reason for Requested Procedure Code Sequence (0040,1002)
ImagingStudy.note | ImagingStudy.note |  |  |  | 0 | * |  |  | Y | Annotation | Comments made about the imaging study | Comments made about the imaging study by the performer, subject or other participants. | [18 empty] | ImagingStudy.note | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.note |  | unknown
ImagingStudy.description | ImagingStudy.description |  | StudyDescription |  | 0 | 1 |  |  | Y | string | Study Description or Classification | Description or classification of the imaging study. | [18 empty] | ImagingStudy.description | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .text | Study Description (0008,1030)
ImagingStudy.numberOfSeries | ImagingStudy.numberOfSeries |  | NumberOfStudyRelatedSeries |  | 0 | 1 |  |  | Y | unsignedInt | Number of Study Related Series | Number of known Series in the Study. This value might be present even if the ImagingStudy.series element is empty or only partially populated. | [18 empty] | ImagingStudy.numberOfSeries | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .outboundRelationship[typeCode=COMP, subsetCode=SUMM].target[classCode=OBSSER, moodCode=EVN].repeatNumber | Number of Study Related Series (0020,1206). Note: this attribute is not included in DICOM instance metadata but is returned as a result of a query.
ImagingStudy.numberOfInstances | ImagingStudy.numberOfInstances |  | NumberOfStudyRelatedInstances |  | 0 | 1 |  |  | Y | unsignedInt | Number of Study Related Instances | Number of known SOP Instances in Study. This value might be present even if the ImagingStudy.series.instance elements are empty or only partially populated. | [18 empty] | ImagingStudy.numberOfInstances | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .outboundRelationship[typeCode=COMP, subsetCode=SUMM].target[classCode=DGIMG, moodCode=EVN].repeatNumber | Number of Study Related Instances (0020,1208). Note: this attribute is not included in DICOM instance metadata but is returned as a result of a query.
ImagingStudy.series | ImagingStudy.series |  |  |  | 0 | * |  |  | Y | BackboneElement | The set of Series belonging to the study | The set of Series belonging to the study. Each Series contains a set of SOP Instances, which could be images, waveforms, or other content. | [18 empty] | ImagingStudy.series | 0 | * |  | ele-1:All FHIR elements must have a @value or children or both {hasValue() or (children().count() > id.count())} |  |  | .outboundRelationship[typeCode=COMP].target[classCode=OBSSER, moodCode=EVN]
ImagingStudy.series.id | ImagingStudy.series.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 | ele-1 |  |  |  | n/a
ImagingStudy.series.extension | ImagingStudy.series.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | n/a
ImagingStudy.series.modifierExtension | ImagingStudy.series.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | N/A
ImagingStudy.series.uid | ImagingStudy.series.uid |  | SeriesInstanceUID |  | 1 | 1 |  |  | Y | id | DICOM Series Instance UID | The DICOM Series Instance UID of the series. | See [DICOM PS3.3 C.7.3](http://dicom.nema.org/medical/dicom/current/output/chtml/part03/sect_C.7.3.html). | DICOM Series Instance UID. |  |  |  |  | 2.16.124.113543.6003.2588828330.45298.17418.2723805630 | [11 empty] | ImagingStudy.series.uid | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .id | Series Instance UID (0020,000E)
ImagingStudy.series.number | ImagingStudy.series.number |  | SeriesNumber |  | 0 | 1 |  |  | Y | unsignedInt | Numeric identifier of this series | The numeric identifier of this series in the study. | [6 empty] | 3 | [11 empty] | ImagingStudy.series.number | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .inboundRelationship[type=COMP, source[classCode=COMPOSITION, moodCode=EVN]].sequenceNumber | Series Number (0020,0011)
ImagingStudy.series.modality | ImagingStudy.series.modality |  | Modality |  | 1 | 1 |  |  | Y | CodeableConcept | The modality used for this series | The distinct modality for this series. This MAY include both acquisition and non-acquisition modalities. | [10 empty] | extensible | Type of acquired data in the instance. | http://dicom.nema.org/medical/dicom/current/output/chtml/part16/sect_CID_33.html | [5 empty] | ImagingStudy.series.modality | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .code | Modality (0008,0060)
ImagingStudy.series.description | ImagingStudy.series.description |  | SeriesDescription |  | 0 | 1 |  |  | Y | string | Series Description or Classification | Description or classification of the series. | [6 empty] | CT Surview 180 | [11 empty] | ImagingStudy.series.description | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .text | Series Description (0008,103E)
ImagingStudy.series.numberOfInstances | ImagingStudy.series.numberOfInstances |  | NumberOfSeriesRelatedInstances |  | 0 | 1 |  |  | Y | unsignedInt | Number of Series Related Instances | Number of SOP Instances in the Study. The value given MAY be larger than the number of instance elements this resource contains due to resource availability, security, or other factors. This element SHOULD be present if any instance elements are present. | [18 empty] | ImagingStudy.series.numberOfInstances | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .outboundRelationship[typeCode=COMP, subsetCode=SUMM].target[classCode=DGIMG, moodCode=EVN].repeatNumber | Number of Series Related Instances (0020,1209). Note: this attribute is not included in DICOM instance metadata but is returned as a result of a query.
ImagingStudy.series.endpoint | ImagingStudy.series.endpoint |  |  |  | 0 | * |  |  | Y | Reference(Endpoint) | Series access endpoint | The network service providing access for the study. See implementation notes for information about [using DICOM endpoints](imagingstudy.html#endpoints). | [18 empty] | ImagingStudy.series.endpoint | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | Not supported
ImagingStudy.series.bodySite | ImagingStudy.series.bodySite |  | BodyPartExamined |  | 0 | 1 |  |  | Y | CodeableReference(BodyStructure) | Body part examined | The anatomic structures examined. See [DICOM Part 16 Annex L](http://dicom.nema.org/medical/dicom/current/output/chtml/part16/chapter_L.html) for DICOM to SNOMED-CT mappings. The bodySite MAY indicate the laterality of body part imaged; if so, it SHALL be consistent with any content of ImagingStudy.series.laterality. | [10 empty] | example | SNOMED CT Body site concepts | http://hl7.org/fhir/ValueSet/body-site | [5 empty] | ImagingStudy.series.bodySite | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .targetSiteCode | Body Part Examined (0018,0015) or Anatomic Region Sequence (0008,2218)
ImagingStudy.series.laterality | ImagingStudy.series.laterality |  |  |  | 0 | 1 |  |  | Y | CodeableConcept | Body part laterality | The laterality of the (possibly paired) anatomic structures examined. E.g., the left knee, both lungs, or unpaired abdomen. If present, SHALL be consistent with any laterality information indicated in ImagingStudy.series.bodySite. | [10 empty] | example | Codes describing body site laterality (left, right, etc.). | http://dicom.nema.org/medical/dicom/current/output/chtml/part16/sect_CID_244.html | [5 empty] | ImagingStudy.series.laterality | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .targetSiteCode | Laterality (0020,0060)
ImagingStudy.series.specimen | ImagingStudy.series.specimen |  |  |  | 0 | * |  |  | Y | Reference(Specimen) | Specimen imaged | The specimen imaged, e.g., for whole slide imaging of a biopsy. | [18 empty] | ImagingStudy.series.specimen | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | Role[classCode=SPEC] | Specimen Identifier (0040,0551) or Specimen UID (0040,0554) and + Issuer of the Specimen Identifier Sequence (0040,0562)
ImagingStudy.series.started | ImagingStudy.series.started |  |  |  | 0 | 1 |  |  | Y | dateTime | When the series started | The date and time the series was started. | [18 empty] | ImagingStudy.series.started | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .effectiveTime | Series Date (0008,0021) + and Series Time (0008,0031)
ImagingStudy.series.performer | ImagingStudy.series.performer |  | PerformingPhysicianName OperatorName |  | 0 | * |  |  | Y | BackboneElement | Who performed the series | Indicates who or what performed the series and how they were involved. | If the person who performed the series is not known, their Organization MAY be recorded. A patient, or related person, MAY be the performer, e.g. for patient-captured images. | The performer is recorded at the series level, since each series in a study MAY be performed by a different performer, at different times, and using different devices. A series MAY be performed by multiple performers. | [16 empty] | ImagingStudy.series.performer | 0 | * |  | ele-1:All FHIR elements must have a @value or children or both {hasValue() or (children().count() > id.count())} | Event.performer |  | .participation[typeCode=PRF].role | One or more of: Performing Physician's Name (0008,1050) and Performing Physician Identification Sequence (0008,1052); Operators' Name (0008,1070) and Operator Identification Sequence (0008,1072); Manufacturer (0008,0070) and Manufacturer's Model Name (0008,1090); or Institution Name (0008,0080)
ImagingStudy.series.performer.id | ImagingStudy.series.performer.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 | ele-1 |  |  |  | n/a
ImagingStudy.series.performer.extension | ImagingStudy.series.performer.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | n/a
ImagingStudy.series.performer.modifierExtension | ImagingStudy.series.performer.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | N/A
ImagingStudy.series.performer.function | ImagingStudy.series.performer.function |  |  |  | 0 | 1 |  |  | Y | CodeableConcept | Type of performance | Distinguishes the type of involvement of the performer in the series. |  | Allows disambiguation of the types of involvement of different performers. | [8 empty] | extensible | The type of involvement of the performer. | http://hl7.org/fhir/ValueSet/series-performer-function | [5 empty] | ImagingStudy.series.performer.function | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .participation[typeCode=PRF].role | PRF (Performing Physician's Name); PRF or SPRF (Operator's Name); PRF (Manufacturer / Manufacturer's Model Name); or PRF (Institution Name)
ImagingStudy.series.performer.actor | ImagingStudy.series.performer.actor |  |  |  | 1 | 1 |  |  | Y | Reference(Practitioner¦PractitionerRole¦Organization¦CareTeam¦Patient¦Device¦RelatedPerson¦HealthcareService) | Who performed the series | Indicates who or what performed the series. | [18 empty] | ImagingStudy.series.performer.actor | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.actor | .participation[typeCode=PRF].role[scoper.determinerCode=INSTANCE] | Practitioner (Performing Physician's Name); Practitioner (Operator's Name); Device (Manufacturer / Manufacturer's Model Name); or Organization (Institution Name) | EVN-5 or by domain
ImagingStudy.series.instance | ImagingStudy.series.instance |  |  |  | 0 | * |  |  |  | BackboneElement | A single SOP instance from the series | A single SOP instance within the series, e.g. an image, or presentation state. | [18 empty] | ImagingStudy.series.instance | 0 | * |  | ele-1:All FHIR elements must have a @value or children or both {hasValue() or (children().count() > id.count())} |  |  | .outboundRelationship[typeCode=COMP].target[classCode=DGIMG, moodCode=EVN]
ImagingStudy.series.instance.id | ImagingStudy.series.instance.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 | ele-1 |  |  |  | n/a
ImagingStudy.series.instance.extension | ImagingStudy.series.instance.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | n/a
ImagingStudy.series.instance.modifierExtension | ImagingStudy.series.instance.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and managable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | N/A
ImagingStudy.series.instance.uid | ImagingStudy.series.instance.uid |  | SOPInstanceUID |  | 1 | 1 |  |  |  | id | DICOM SOP Instance UID | The DICOM SOP Instance UID for this image or other DICOM content. | See [DICOM PS3.3 C.12.1](http://dicom.nema.org/medical/dicom/current/output/chtml/part03/sect_C.12.html#sect_C.12.1). | DICOM SOP Instance UID. |  |  |  |  | 2.16.124.113543.6003.189642796.63084.16748.2599092903 | [11 empty] | ImagingStudy.series.instance.uid | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .id | SOP Instance UID (0008,0018)
ImagingStudy.series.instance.sopClass | ImagingStudy.series.instance.sopClass |  | SOPClassUID |  | 1 | 1 |  |  |  | oid | DICOM class type | DICOM instance type. | [18 empty] | ImagingStudy.series.instance.sopClass | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .inboundRelationship[typeCode=COMP]. source[classCode=OBS, moodCode=EVN, code="sop class"].value | SOP Class UID (0008,0016)
ImagingStudy.series.instance.number | ImagingStudy.series.instance.number |  | InstanceNumber |  | 0 | 1 |  |  |  | unsignedInt | The number of this instance in the series | The number of instance in the series. | [6 empty] | 1 | [11 empty] | ImagingStudy.series.instance.number | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .inboundRelationship[typeCode=COMP, source[classCode=OBSSER, moodCode=EVN]].sequenceNumber | Instance Number (0020,0013)
ImagingStudy.series.instance.title | ImagingStudy.series.instance.title |  |  |  | 0 | 1 |  |  |  | string | Description of instance | The description of the instance. | Particularly for post-acquisition analytic objects, such as SR, presentation states, value mapping, etc. | [17 empty] | ImagingStudy.series.instance.title | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  |  | .title | Image Type (0008,0008) or Document Title (0042,0010)