## Metadata
Property | Value
URL | http://hl7.org/fhir/uv/fhircast/StructureDefinition/fhircast-imaging-study-open
Version | 3.0.0-ballot
Name | FHIRcastImagingStudyOpen
Title | FHIRcast ImagingStudy for Open Events
Status | draft
Experimental
Date | 2024-05-15T13:15:44+00:00
Publisher | HL7 International / Infrastructure And Messaging
Contact | HL7 International / Infrastructure And Messaging (http://www.hl7.org/Special/committees/inm, inm@lists.HL7.org)
Jurisdiction | Global (Whole world)
Description | Provides guidance as to which ImagingStudy attributes should be present and considerations as to how each attribute should be valued in all [FHIR resource]-open events. At least one business identifier of the ImagingStudy SHALL be provided in a [FHIR resource]-open request. Two business identifiers are typically associated with an image study. Imaging systems such as a PACS viewer, advanced visualization workstation, etc. typically identify an image study by its DICOM Study Instance UID (which in DICOM is identified with a (0020,000D) tag). Likewise, information systems often identify an image study through the accession number of the order which triggered the image procedure to be performed. The Study Instance UID SHALL be included as a business identifier if it is known. In FHIR, the Study Instance UID of an ImagingStudy is provided in the `identifier` array using the identifier system of `urn:dicom:uid` and prefixing the UID value with `urn:oid:`. The accession number SHALL be included as a business identifier if it is known. **FHIR R4 versus FHIR R5** Relative to FHIR R4, the ImagingStudy resource's change relevant to FHIRcast is the guidance FHIR R5 provides in specifying the accession number. In FHIR R4, the guidance is to provide the accession number in the `identifier` array. In FHIR R5, the accession number is provided in the ImagingStudy's `basedOn` array as a reference using a ServiceRequest reference type. Since this version of FHIRcast promotes the use of FHIR R4 resources, the guidance to provide the accession number in the `identifier` array SHOULD be used and this approach is shown in all ImagingStudy examples in the FHIRcast specification. However, if Subscribers agree to use FHIR R5 resources, the FHIR R5 recommendation MAY be used. For a more detailed explanation of these business identifiers, see the [FHIR R4 implementation notes of the FHIR ImagingStudy resource](https://hl7.org/fhir/R4B/imagingstudy.html) (and the [FHIR R5 implementation notes of the FHIR ImagingStudy resource](https://hl7.org/fhir/R5/imagingstudy.html)). Ideally both the accession number and Study Instance UID are available and present in an ImagingStudy resource used in FHIRcast. The presence of both business identifiers ensures that all Subscribers will be able to be able to identify the appropriate imaging study.
Purpose
Copyright
FHIR Version | 4.0.1
Kind | resource
Type | ImagingStudy
Base Definition | http://hl7.org/fhir/StructureDefinition/ImagingStudy
Abstract | false
Derivation | constraint

## Elements
ID | Path | Slice Name | Alias(s) | Label | Min | Max | Must Support? | Is Modifier? | Is Summary? | Type(s) | Short | Definition | Comments | Requirements | Default Value | Meaning When Missing | Fixed Value | Pattern | Example | Minimum Value | Maximum Value | Maximum Length | Binding Strength | Binding Description | Binding Value Set | Code | Slicing Discriminator | Slicing Description | Slicing Ordered | Slicing Rules | Base Path | Base Min | Base Max | Condition(s) | Constraint(s) | Mapping: Workflow Pattern | Mapping: RIM Mapping | Mapping: DICOM Tag Mapping | Mapping: FiveWs Pattern Mapping | Mapping: HL7 v2 Mapping
ImagingStudy | ImagingStudy |  |  |  | 0 | * |  |  |  |  | A set of images produced in single study (one or more series of references images) | Representation of the content produced in a DICOM imaging study. A study comprises a set of series, each of which includes a set of Service-Object Pair Instances (SOP Instances - images or other data) acquired or produced in a common context. A series is of only one modality (e.g. X-ray, CT, MR, ultrasound), but a study may have multiple series of different modalities. | [18 empty] | ImagingStudy | 0 | * |  | dom-2:If the resource is contained in another resource, it SHALL NOT contain nested Resources {contained.contained.empty()} dom-3:If the resource is contained in another resource, it SHALL be referred to from elsewhere in the resource or SHALL refer to the containing resource {contained.where((('#'+id in (%resource.descendants().reference ¦ %resource.descendants().as(canonical) ¦ %resource.descendants().as(uri) ¦ %resource.descendants().as(url))) or descendants().where(reference = '#').exists() or descendants().where(as(canonical) = '#').exists() or descendants().where(as(canonical) = '#').exists()).not()).trace('unmatched', id).empty()}dom-4:If a resource is contained in another resource, it SHALL NOT have a meta.versionId or a meta.lastUpdated {contained.meta.versionId.empty() and contained.meta.lastUpdated.empty()}dom-5:If a resource is contained in another resource, it SHALL NOT have a security label {contained.meta.security.empty()}dom-6:A resource should have narrative for robust management {text.`div`.exists()} | Event | Act[classCode=COMPOSITION, moodCode=EVN] | Reference IHE radiology TF vol 2 table 4.14-1
ImagingStudy.id | ImagingStudy.id |  |  |  | 1 | 1 |  |  | Y | id | A logical id of the resource SHALL be provided. | A logical id of the resource SHALL be provided. It may be the `id` associated with the resource as persisted in a FHIR server. If the resource is not stored in a FHIR server, the Subscriber requesting the context change SHOULD use a mechanism to generate the `id` such that it will be globally unique (e.g., a [UUID](https://en.wikipedia.org/wiki/Universally_unique_identifier)). When a [FHIR resource]-close event including this image study is requested, the Subscriber requesting the context be closed SHALL use the same ImagingStudy resource `id` which was provided in the [FHIR resource]-open event (see also [FHIRcast ImagingStudy for Close Events](StructureDefinition-fhircast-imaging-study-close.html)). | The only time that a resource does not have an id is when it is being submitted to the server using a create operation. | [17 empty] | Resource.id | 0 | 1
ImagingStudy.meta | ImagingStudy.meta |  |  |  | 0 | 1 |  |  | Y | Meta | Metadata about the resource | The metadata about the resource. This is content that is maintained by the infrastructure. Changes to the content might not always be associated with version changes to the resource. | [18 empty] | Resource.meta | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
ImagingStudy.implicitRules | ImagingStudy.implicitRules |  |  |  | 0 | 1 |  | Y | Y | uri | A set of rules under which this content was created | A reference to a set of rules that were followed when the resource was constructed, and which must be understood when processing the content. Often, this is a reference to an implementation guide that defines the special rules along with other profiles etc. | Asserting this rule set restricts the content to be only understood by a limited set of trading partners. This inherently limits the usefulness of the data in the long term. However, the existing health eco-system is highly fractured, and not yet ready to define, collect, and exchange data in a generally computable sense. Wherever possible, implementers and/or specification writers should avoid using this element. Often, when used, the URL is a reference to an implementation guide that defines these special rules as part of it's narrative along with other profiles, value sets, etc. | [17 empty] | Resource.implicitRules | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
ImagingStudy.language | ImagingStudy.language |  |  |  | 0 | 1 |  |  |  | code | Language of the resource content | The base language in which the resource is written. | Language is provided to support indexing and accessibility (typically, services such as text to speech use the language tag). The html language tag in the narrative applies to the narrative. The language tag on the resource may be used to specify the language of other presentations generated from the data in the resource. Not all the content has to be in the base language. The Resource.language should not be assumed to apply to the narrative automatically. If a language is specified, it should it also be specified on the div element in the html (see rules in HTML5 for information about the relationship between xml:lang and the html lang attribute). | [9 empty] | preferred | A human language. | http://hl7.org/fhir/ValueSet/languages | [5 empty] | Resource.language | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
ImagingStudy.text | ImagingStudy.text |  | narrative htmlxhtmldisplay |  | 0 | 1 |  |  |  | Narrative | Text summary of the resource, for human interpretation | A human-readable narrative that contains a summary of the resource and can be used to represent the content of the resource to a human. The narrative need not encode all the structured data, but is required to contain sufficient detail to make it "clinically safe" for a human to just read the narrative. Resource definitions may define what content should be represented in the narrative to ensure clinical safety. | Contained resources do not have narrative. Resources that are not contained SHOULD have a narrative. In some cases, a resource may only have text with little or no additional discrete data (as long as all minOccurs=1 elements are satisfied). This may be necessary for data from legacy systems where information is captured as a "text blob" or where text is additionally entered raw or narrated and encoded information is added later. | [17 empty] | DomainResource.text | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | Act.text?
ImagingStudy.contained | ImagingStudy.contained |  | inline resources anonymous resourcescontained resources |  | 0 | * |  |  |  | Resource | Contained, inline Resources | These resources do not have an independent existence apart from the resource that contains them - they cannot be identified independently, and nor can they have their own independent transaction scope. | This should never be done when the content can be identified properly, as once identification is lost, it is extremely difficult (and context dependent) to restore it again. Contained resources may have profiles and tags In their meta elements, but SHALL NOT have security labels. | [17 empty] | DomainResource.contained | 0 | * |  |  |  | N/A
ImagingStudy.extension | ImagingStudy.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the resource. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | DomainResource.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  | N/A
ImagingStudy.modifierExtension | ImagingStudy.modifierExtension |  | extensions user content |  | 0 | * |  | Y |  | Extension | Extensions that cannot be ignored | May be used to represent additional information that is not part of the basic definition of the resource and that modifies the understanding of the element that contains it and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer is allowed to define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | DomainResource.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  | N/A
ImagingStudy.identifier | ImagingStudy.identifier |  | StudyInstanceUID AccessionNumber |  | 1 | * |  |  | Y | Identifier | At least one business identifier of the ImagingStudy SHALL be provided in a [FHIR resource]-open request (see this event's detailed description for more information). | The Study Instance UID SHALL be included as a business identifier if it is known. In FHIR, the Study Instance UID of an ImagingStudy is stored in the `identifier` array using the identifier system of `urn:dicom:uid` and prefixing the UID value with `urn:oid:`. The accession number of the order which triggered the image procedure to be performed SHALL be included as a business identifier if it is known. The accession number is provided using the “ACSN” identifier type. | See discussion under [Imaging Study Implementation Notes](imagingstudy.html#notes) for encoding of DICOM Study Instance UID. Accession Number should use ACSN Identifier type. | If one or more series elements are present in the ImagingStudy, then there shall be one DICOM Study UID identifier (see [DICOM PS 3.3 C.7.2](http://dicom.nema.org/medical/dicom/current/output/chtml/part03/sect_C.7.2.html). | [16 empty] | ImagingStudy.identifier | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.identifier | .id and .inboundRelationship[typeCode=COMP].source[classCode=ACSN, moodCode=EVN].id | StudyInstanceUID (0020,000D) ¦ Accession Number and Issuer (0080,0050)+(0080,0051) ¦ Study ID (0020,0010) | FiveWs.identifier
ImagingStudy.status | ImagingStudy.status |  |  |  | 1 | 1 |  | Y | Y | code | Status of the ImagingStudy, note this may not be known and hence have a value of `unknown`; however, `status` is included since it is required by the FHIR standard | The current state of the ImagingStudy. | Unknown does not represent "other" - one of the defined statuses must apply. Unknown is used when the authoring system is not sure what the current status is. | [9 empty] | required | The status of the ImagingStudy. | http://hl7.org/fhir/ValueSet/imagingstudy-status¦4.0.1 | [5 empty] | ImagingStudy.status | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.status | .status |  | FiveWs.status | Varies by domain
ImagingStudy.modality | ImagingStudy.modality |  | ModalitiesInStudy |  | 0 | * |  |  | Y | Coding | All series modality if actual acquisition modalities | A list of all the series.modality values that are actual acquisition modalities, i.e. those in the DICOM Context Group 29 (value set OID 1.2.840.10008.6.1.19). | [10 empty] | extensible | Type of acquired data in the instance. | http://dicom.nema.org/medical/dicom/current/output/chtml/part16/sect_CID_29.html | [5 empty] | ImagingStudy.modality | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .code | (0008,0061) | FiveWs.class
ImagingStudy.subject | ImagingStudy.subject |  |  |  | 1 | 1 |  |  | Y | Reference(http://hl7.org/fhir/uv/fhircast/StructureDefinition/fhircast-patient-open¦Device¦Group) | Reference to the Patient resource associated with the ImagingStudy (see detailed description if the image study's subject is not a patient) | A reference to the FHIR Patient resource describing the patient whose imaging study is currently in context. A patient SHALL be present if there is a patient associated with the study. Note there are rare cases in which the ImagingStudy.subject references a resource which is not a patient; for example a calibration study. A reference to the related non-Patient subject of the study SHALL be present in the ImagingStudy resource as it is required by the FHIR specification but is not required to be present in the [FHIR resource]-open event's context. For example, a reference to a Device resource could be provided as the subject (note, if no FHIR Device FHIR resource instance is available it is allowed to provide only a `display` value in the `reference`) but not provided in the FHIRcast event's `context` array. | QA phantoms can be recorded with a Device; multiple subjects (such as mice) can be recorded with a Group. | [17 empty] | ImagingStudy.subject | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.subject | .participation[typeCode=SBJ].role | (0010/*) | FiveWs.subject
ImagingStudy.encounter | ImagingStudy.encounter |  |  |  | 0 | 1 |  |  | Y | Reference(Encounter) | Encounter with which this imaging study is associated | The healthcare event (e.g. a patient and healthcare provider interaction) during which this ImagingStudy is made. | This will typically be the encounter the event occurred within, but some events may be initiated prior to or after the official completion of an encounter but still be tied to the context of the encounter (e.g. pre-admission test). | [17 empty] | ImagingStudy.encounter | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.encounter | inboundRelationship[typeCode=COMP].source[classCode=ENC, moodCode=EVN] |  | FiveWs.context
ImagingStudy.started | ImagingStudy.started |  | StudyDate StudyTime |  | 0 | 1 |  |  | Y | dateTime | When the study was started | Date and time the study started. | [6 empty] | 2011-01-01T11:01:20+03:00 | [11 empty] | ImagingStudy.started | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.occurrence[x] | .effectiveTime | (0008,0020)+(0008,0030) | FiveWs.init
ImagingStudy.basedOn | ImagingStudy.basedOn |  |  |  | 0 | * |  |  | Y | Reference(CarePlan¦ServiceRequest¦Appointment¦AppointmentResponse¦Task) | Request fulfilled | A list of the diagnostic requests that resulted in this imaging study being performed. |  | To support grouped procedures (one imaging study supporting multiple ordered procedures, e.g. chest/abdomen/pelvis CT). | [16 empty] | ImagingStudy.basedOn | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.basedOn | .outboundRelationship[typeCode=FLFS].target[classCode=DGIMG, moodCode=RQO] | (0032,1064) | FiveWs.cause
ImagingStudy.referrer | ImagingStudy.referrer |  | ReferringPhysiciansName |  | 0 | 1 |  |  | Y | Reference(Practitioner¦PractitionerRole) | Referring physician | The requesting/referring physician. | [18 empty] | ImagingStudy.referrer | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .outboundRelationship[typeCode=FLFS].target[classCode=DGIMG, moodCode=RQO].participation[typeCode=AUT].role | (0008,0090)+(0008,0096) | FiveWs.cause
ImagingStudy.interpreter | ImagingStudy.interpreter |  | Name of Physician(s) Reading Study |  | 0 | * |  |  | Y | Reference(Practitioner¦PractitionerRole) | Who interpreted images | Who read the study and interpreted the images or other content. | [18 empty] | ImagingStudy.interpreter | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .participation[typeCode=PRF].role | (0008,1060) | FiveWs.witness
ImagingStudy.endpoint | ImagingStudy.endpoint |  |  |  | 0 | * |  |  | Y | Reference(Endpoint) | Study access endpoint | The network service providing access (e.g., query, view, or retrieval) for the study. See implementation notes for information about using DICOM endpoints. A study-level endpoint applies to each series in the study, unless overridden by a series-level endpoint with the same Endpoint.connectionType. | Typical endpoint types include DICOM WADO-RS, which is used to retrieve DICOM instances in native or rendered (e.g., JPG, PNG), formats using a RESTful API; DICOM WADO-URI, which can similarly retrieve native or rendered instances, except using an HTTP query-based approach; DICOM QIDO-RS, which allows RESTful query for DICOM information without retrieving the actual instances; or IHE Invoke Image Display (IID), which provides standard invocation of an imaging web viewer. | Access methods for viewing (e.g., IHE’s IID profile) or retrieving (e.g., DICOM’s WADO-URI and WADO-RS) the study or the study’s series or instances. The study-level baseLocation applies to each series in the study, unless overridden in series by a series-level baseLocation of the same type. | [16 empty] | ImagingStudy.endpoint | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | Not supported
ImagingStudy.numberOfSeries | ImagingStudy.numberOfSeries |  | NumberOfStudyRelatedSeries |  | 0 | 1 |  |  | Y | unsignedInt | Number of Study Related Series | Number of Series in the Study. This value given may be larger than the number of series elements this Resource contains due to resource availability, security, or other factors. This element should be present if any series elements are present. | [18 empty] | ImagingStudy.numberOfSeries | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .outboundRelationship[typeCode=COMP, subsetCode=SUMM].target[classCode=OBSSER, moodCode=EVN].repeatNumber | (0020,1206)
ImagingStudy.numberOfInstances | ImagingStudy.numberOfInstances |  | NumberOfStudyRelatedInstances |  | 0 | 1 |  |  | Y | unsignedInt | Number of Study Related Instances | Number of SOP Instances in Study. This value given may be larger than the number of instance elements this resource contains due to resource availability, security, or other factors. This element should be present if any instance elements are present. | [18 empty] | ImagingStudy.numberOfInstances | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .outboundRelationship[typeCode=COMP, subsetCode=SUMM].target[classCode=DGIMG, moodCode=EVN].repeatNumber | (0020,1208)
ImagingStudy.procedureReference | ImagingStudy.procedureReference |  |  |  | 0 | 1 |  |  | Y | Reference(Procedure) | The performed Procedure reference | The procedure which this ImagingStudy was part of. | [18 empty] | ImagingStudy.procedureReference | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.partOf | .outboundRelationship[typeCode=COMP].target[classCode=PROC, moodCode=EVN] | (0008,1032)
ImagingStudy.procedureCode | ImagingStudy.procedureCode |  | ProcedureCodeSequence |  | 0 | * |  |  | Y | CodeableConcept | The performed procedure code | The code for the performed procedure type. | [10 empty] | extensible | The performed procedure type. | http://www.rsna.org/RadLex_Playbook.aspx | [5 empty] | ImagingStudy.procedureCode | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.code | .outboundRelationship[typeCode=COMP].target[classCode=PROC, moodCode=EVN] | (0008,1032)
ImagingStudy.location | ImagingStudy.location |  |  |  | 0 | 1 |  |  | Y | Reference(Location) | Where ImagingStudy occurred | The principal physical location where the ImagingStudy was performed. |  | Ties the event to where the records are likely kept and provides context around the event occurrence (e.g. if it occurred inside or outside a dedicated healthcare setting). | [16 empty] | ImagingStudy.location | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.location | .participation[typeCode=LOC].role | (0008,1040) ¦ (0040,0243) | FiveWs.where[x] | EVN.7
ImagingStudy.reasonCode | ImagingStudy.reasonCode |  |  |  | 0 | * |  |  | Y | CodeableConcept | Why the study was requested | Description of clinical condition indicating why the ImagingStudy was requested. | [10 empty] | example | The reason for the study. | http://hl7.org/fhir/ValueSet/procedure-reason | [5 empty] | ImagingStudy.reasonCode | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.reasonCode | .reasonCode | (0040,1002) | FiveWs.why[x]
ImagingStudy.reasonReference | ImagingStudy.reasonReference |  |  |  | 0 | * |  |  | Y | Reference(Condition¦Observation¦Media¦DiagnosticReport¦DocumentReference) | Why was study performed | Indicates another resource whose existence justifies this Study. | [18 empty] | ImagingStudy.reasonReference | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.reasonReference | .outboundRelationship[typeCode=RSON].target |  | FiveWs.why[x] | EVN.4 or by domain
ImagingStudy.note | ImagingStudy.note |  |  |  | 0 | * |  |  | Y | Annotation | User-defined comments | Per the recommended DICOM mapping, this element is derived from the Study Description attribute (0008,1030). Observations or findings about the imaging study should be recorded in another resource, e.g. Observation, and not in this element. | [18 empty] | ImagingStudy.note | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.note | unknown
ImagingStudy.description | ImagingStudy.description |  | StudyDescription |  | 0 | 1 |  |  | Y | string | Institution-generated description | The Imaging Manager description of the study. Institution-generated description or classification of the Study (component) performed. | [18 empty] | ImagingStudy.description | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .text | (0008,1030)
ImagingStudy.series | ImagingStudy.series |  |  |  | 0 | * |  |  | Y | BackboneElement | Each study has one or more series of instances | Each study has one or more series of images or other content. | [18 empty] | ImagingStudy.series | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .outboundRelationship[typeCode=COMP].target[classCode=OBSSER, moodCode=EVN]
ImagingStudy.series.id | ImagingStudy.series.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  |  | n/a
ImagingStudy.series.extension | ImagingStudy.series.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  | n/a
ImagingStudy.series.modifierExtension | ImagingStudy.series.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  | N/A
ImagingStudy.series.uid | ImagingStudy.series.uid |  | SeriesInstanceUID |  | 1 | 1 |  |  | Y | id | DICOM Series Instance UID for the series | The DICOM Series Instance UID for the series. | See [DICOM PS3.3 C.7.3](http://dicom.nema.org/medical/dicom/current/output/chtml/part03/sect_C.7.3.html). | DICOM Series Instance UID. |  |  |  |  | 2.16.124.113543.6003.2588828330.45298.17418.2723805630 | [11 empty] | ImagingStudy.series.uid | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .id | (0020,000E)
ImagingStudy.series.number | ImagingStudy.series.number |  | SeriesNumber |  | 0 | 1 |  |  | Y | unsignedInt | Numeric identifier of this series | The numeric identifier of this series in the study. | [6 empty] | 3 | [11 empty] | ImagingStudy.series.number | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .inboundRelationship[type=COMP, source[classCode=COMPOSITION, moodCode=EVN]].sequenceNumber | (0020,0011)
ImagingStudy.series.modality | ImagingStudy.series.modality |  | Modality |  | 1 | 1 |  |  | Y | Coding | The modality of the instances in the series | The modality of this series sequence. | [10 empty] | extensible | Type of acquired data in the instance. | http://dicom.nema.org/medical/dicom/current/output/chtml/part16/sect_CID_29.html | [5 empty] | ImagingStudy.series.modality | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .code | (0008,0060)
ImagingStudy.series.description | ImagingStudy.series.description |  | SeriesDescription |  | 0 | 1 |  |  | Y | string | A short human readable summary of the series | A description of the series. | [6 empty] | CT Surview 180 | [11 empty] | ImagingStudy.series.description | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .text | (0008,103E)
ImagingStudy.series.numberOfInstances | ImagingStudy.series.numberOfInstances |  | NumberOfSeriesRelatedInstances |  | 0 | 1 |  |  | Y | unsignedInt | Number of Series Related Instances | Number of SOP Instances in the Study. The value given may be larger than the number of instance elements this resource contains due to resource availability, security, or other factors. This element should be present if any instance elements are present. | [18 empty] | ImagingStudy.series.numberOfInstances | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .outboundRelationship[typeCode=COMP, subsetCode=SUMM].target[classCode=DGIMG, moodCode=EVN].repeatNumber | (0020,1209)
ImagingStudy.series.endpoint | ImagingStudy.series.endpoint |  |  |  | 0 | * |  |  | Y | Reference(Endpoint) | Series access endpoint | The network service providing access (e.g., query, view, or retrieval) for this series. See implementation notes for information about using DICOM endpoints. A series-level endpoint, if present, has precedence over a study-level endpoint with the same Endpoint.connectionType. | Typical endpoint types include DICOM WADO-RS, which is used to retrieve DICOM instances in native or rendered (e.g., JPG, PNG) formats using a RESTful API; DICOM WADO-URI, which can similarly retrieve native or rendered instances, except using an HTTP query-based approach; and DICOM QIDO-RS, which allows RESTful query for DICOM information without retrieving the actual instances. | Access methods for retrieving (e.g., DICOM’s WADO-URI and WADO-RS) the series or the series’ instances. A baseLocation specified at the series level has precedence over a baseLocation of the same type specified at the study level. | [16 empty] | ImagingStudy.series.endpoint | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | Not supported
ImagingStudy.series.bodySite | ImagingStudy.series.bodySite |  | BodyPartExamined |  | 0 | 1 |  |  | Y | Coding | Body part examined | The anatomic structures examined. See DICOM Part 16 Annex L (http://dicom.nema.org/medical/dicom/current/output/chtml/part16/chapter_L.html) for DICOM to SNOMED-CT mappings. The bodySite may indicate the laterality of body part imaged; if so, it shall be consistent with any content of ImagingStudy.series.laterality. | [10 empty] | example | Codes describing anatomical locations. May include laterality. | http://hl7.org/fhir/ValueSet/body-site | [5 empty] | ImagingStudy.series.bodySite | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .targetSiteCode | (0018,0015)
ImagingStudy.series.laterality | ImagingStudy.series.laterality |  |  |  | 0 | 1 |  |  | Y | Coding | Body part laterality | The laterality of the (possibly paired) anatomic structures examined. E.g., the left knee, both lungs, or unpaired abdomen. If present, shall be consistent with any laterality information indicated in ImagingStudy.series.bodySite. | [10 empty] | example | Codes describing body site laterality (left, right, etc.). | http://hl7.org/fhir/ValueSet/bodysite-laterality | [5 empty] | ImagingStudy.series.laterality | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .targetSiteCode | (0020,0060)
ImagingStudy.series.specimen | ImagingStudy.series.specimen |  |  |  | 0 | * |  |  | Y | Reference(Specimen) | Specimen imaged | The specimen imaged, e.g., for whole slide imaging of a biopsy. | [18 empty] | ImagingStudy.series.specimen | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | Role[classCode=SPEC] | (0040,0551) + (0040,0562)
ImagingStudy.series.started | ImagingStudy.series.started |  |  |  | 0 | 1 |  |  | Y | dateTime | When the series started | The date and time the series was started. | [18 empty] | ImagingStudy.series.started | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .effectiveTime | (0008,0021) + (0008,0031)
ImagingStudy.series.performer | ImagingStudy.series.performer |  | PerformingPhysicianName OperatorName |  | 0 | * |  |  | Y | BackboneElement | Who performed the series | Indicates who or what performed the series and how they were involved. | If the person who performed the series is not known, their Organization may be recorded. A patient, or related person, may be the performer, e.g. for patient-captured images. | The performer is recorded at the series level, since each series in a study may be performed by a different performer, at different times, and using different devices. A series may be performed by multiple performers. | [16 empty] | ImagingStudy.series.performer | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Event.performer | .participation[typeCode=PRF].role | (0008, 1050) ¦ (0008, 1052) ¦ (0008, 1070) ¦ (0008, 1072)
ImagingStudy.series.performer.id | ImagingStudy.series.performer.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  |  | n/a
ImagingStudy.series.performer.extension | ImagingStudy.series.performer.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  | n/a
ImagingStudy.series.performer.modifierExtension | ImagingStudy.series.performer.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  | N/A
ImagingStudy.series.performer.function | ImagingStudy.series.performer.function |  |  |  | 0 | 1 |  |  | Y | CodeableConcept | Type of performance | Distinguishes the type of involvement of the performer in the series. |  | Allows disambiguation of the types of involvement of different performers. | [8 empty] | extensible | The type of involvement of the performer. | http://hl7.org/fhir/ValueSet/series-performer-function | [5 empty] | ImagingStudy.series.performer.function | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .participation[typeCode=PRF].role
ImagingStudy.series.performer.actor | ImagingStudy.series.performer.actor |  |  |  | 1 | 1 |  |  | Y | Reference(Practitioner¦PractitionerRole¦Organization¦CareTeam¦Patient¦Device¦RelatedPerson) | Who performed the series | Indicates who or what performed the series. | [18 empty] | ImagingStudy.series.performer.actor | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .participation[typeCode=PRF].role[scoper.determinerCode=INSTANCE] |  | FiveWs.actor | EVN.5 or by domain
ImagingStudy.series.instance | ImagingStudy.series.instance |  |  |  | 0 | * |  |  |  | BackboneElement | A single SOP instance from the series | A single SOP instance within the series, e.g. an image, or presentation state. | [18 empty] | ImagingStudy.series.instance | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .outboundRelationship[typeCode=COMP].target[classCode=DGIMG, moodCode=EVN]
ImagingStudy.series.instance.id | ImagingStudy.series.instance.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  |  | n/a
ImagingStudy.series.instance.extension | ImagingStudy.series.instance.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  | n/a
ImagingStudy.series.instance.modifierExtension | ImagingStudy.series.instance.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  | N/A
ImagingStudy.series.instance.uid | ImagingStudy.series.instance.uid |  | SOPInstanceUID |  | 1 | 1 |  |  |  | id | DICOM SOP Instance UID | The DICOM SOP Instance UID for this image or other DICOM content. | See [DICOM PS3.3 C.12.1](http://dicom.nema.org/medical/dicom/current/output/chtml/part03/sect_C.12.html#sect_C.12.1). | DICOM SOP Instance UID. |  |  |  |  | 2.16.124.113543.6003.189642796.63084.16748.2599092903 | [11 empty] | ImagingStudy.series.instance.uid | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .id | (0008,0018)
ImagingStudy.series.instance.sopClass | ImagingStudy.series.instance.sopClass |  | SOPClassUID |  | 1 | 1 |  |  |  | Coding | DICOM class type | DICOM instance type. | [10 empty] | extensible | The sopClass for the instance. | http://dicom.nema.org/medical/dicom/current/output/chtml/part04/sect_B.5.html#table_B.5-1 | [5 empty] | ImagingStudy.series.instance.sopClass | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .inboundRelationship[typeCode=COMP]. source[classCode=OBS, moodCode=EVN, code="sop class"].value | (0008,0016)
ImagingStudy.series.instance.number | ImagingStudy.series.instance.number |  | InstanceNumber |  | 0 | 1 |  |  |  | unsignedInt | The number of this instance in the series | The number of instance in the series. | [6 empty] | 1 | [11 empty] | ImagingStudy.series.instance.number | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .inboundRelationship[typeCode=COMP, source[classCode=OBSSER, moodCode=EVN]].sequenceNumber | (0020,0013)
ImagingStudy.series.instance.title | ImagingStudy.series.instance.title |  |  |  | 0 | 1 |  |  |  | string | Description of instance | The description of the instance. | Particularly for post-acquisition analytic objects, such as SR, presentation states, value mapping, etc. | [17 empty] | ImagingStudy.series.instance.title | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | .title | (0008,0008) ¦ (0007,0080) ¦ (0040,A043) + (0008,0104) ¦ (0042,0010)