## Metadata
Property | Value
URL | http://hl7.eu/fhir/ig/xpandh/hdr/StructureDefinition/device-xpandh
Version | 0.1.0
Name | DeviceXpandh
Title | Device (Xpandh)
Status | draft
Experimental
Date | 2024-11-05T15:36:25+00:00
Publisher | XpanDH Project
Contact | XpanDH Project (https://xpandh-project.iscte-iul.pt)
Jurisdiction | Europe
Description | This profile represents the constraints applied to the Device resource by the Xpandh FHIR Implementation Guide, based on FHIR R4. A device used by or implanted on the patient is described in the hospital discharge report as an instance of a Device resource constrained by this profile.
Purpose
Copyright | Used by permission of the XpanDH project, all rights reserved Creative Commons License
FHIR Version | 4.0.1
Kind | resource
Type | Device
Base Definition | http://hl7.org/fhir/uv/ips/StructureDefinition/Device-uv-ips
Abstract | false
Derivation | constraint

## Elements
ID | Path | Slice Name | Alias(s) | Label | Min | Max | Must Support? | Is Modifier? | Is Summary? | Type(s) | Short | Definition | Comments | Requirements | Default Value | Meaning When Missing | Fixed Value | Pattern | Example | Minimum Value | Maximum Value | Maximum Length | Binding Strength | Binding Description | Binding Value Set | Code | Slicing Discriminator | Slicing Description | Slicing Ordered | Slicing Rules | Base Path | Base Min | Base Max | Condition(s) | Constraint(s) | Mapping: RIM Mapping | Mapping: FiveWs Pattern Mapping | Mapping: UDI Mapping
Device | Device |  |  |  | 0 | * |  |  |  |  | Item used in healthcare | A type of a manufactured item that is used in the provision of healthcare without being substantially changed through that activity. The device may be a medical or non-medical device. | This profile applies the rules defined by HL7 International for representing the UDI in the FHIR standard, by the document "Medical Devices and Unique Device Identification (UDI) Pattern, Release 1" | [17 empty] | Device | 0 | * |  | dom-2:If the resource is contained in another resource, it SHALL NOT contain nested Resources {contained.contained.empty()} dom-3:If the resource is contained in another resource, it SHALL be referred to from elsewhere in the resource or SHALL refer to the containing resource {contained.where((('#'+id in (%resource.descendants().reference ¦ %resource.descendants().as(canonical) ¦ %resource.descendants().as(uri) ¦ %resource.descendants().as(url))) or descendants().where(reference = '#').exists() or descendants().where(as(canonical) = '#').exists() or descendants().where(as(canonical) = '#').exists()).not()).trace('unmatched', id).empty()}dom-4:If a resource is contained in another resource, it SHALL NOT have a meta.versionId or a meta.lastUpdated {contained.meta.versionId.empty() and contained.meta.lastUpdated.empty()}dom-5:If a resource is contained in another resource, it SHALL NOT have a security label {contained.meta.security.empty()}dom-6:A resource should have narrative for robust management {text.`div`.exists()} | Device
Device.id | Device.id |  |  |  | 0 | 1 |  |  | Y | id | Logical id of this artifact | The logical id of the resource, as used in the URL for the resource. Once assigned, this value never changes. | The only time that a resource does not have an id is when it is being submitted to the server using a create operation. | [17 empty] | Resource.id | 0 | 1
Device.meta | Device.meta |  |  |  | 0 | 1 |  |  | Y | Meta | Metadata about the resource | The metadata about the resource. This is content that is maintained by the infrastructure. Changes to the content might not always be associated with version changes to the resource. | [18 empty] | Resource.meta | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.implicitRules | Device.implicitRules |  |  |  | 0 | 1 |  | Y | Y | uri | A set of rules under which this content was created | A reference to a set of rules that were followed when the resource was constructed, and which must be understood when processing the content. Often, this is a reference to an implementation guide that defines the special rules along with other profiles etc. | Asserting this rule set restricts the content to be only understood by a limited set of trading partners. This inherently limits the usefulness of the data in the long term. However, the existing health eco-system is highly fractured, and not yet ready to define, collect, and exchange data in a generally computable sense. Wherever possible, implementers and/or specification writers should avoid using this element. Often, when used, the URL is a reference to an implementation guide that defines these special rules as part of it's narrative along with other profiles, value sets, etc. | [17 empty] | Resource.implicitRules | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.language | Device.language |  |  |  | 0 | 1 |  |  |  | code | Language of the resource content | The base language in which the resource is written. | Language is provided to support indexing and accessibility (typically, services such as text to speech use the language tag). The html language tag in the narrative applies to the narrative. The language tag on the resource may be used to specify the language of other presentations generated from the data in the resource. Not all the content has to be in the base language. The Resource.language should not be assumed to apply to the narrative automatically. If a language is specified, it should it also be specified on the div element in the html (see rules in HTML5 for information about the relationship between xml:lang and the html lang attribute). | [9 empty] | preferred | A human language. | http://hl7.org/fhir/ValueSet/languages | [5 empty] | Resource.language | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.text | Device.text |  | narrative htmlxhtmldisplay |  | 0 | 1 |  |  |  | Narrative | Text summary of the resource, for human interpretation | A human-readable narrative that contains a summary of the resource and can be used to represent the content of the resource to a human. The narrative need not encode all the structured data, but is required to contain sufficient detail to make it "clinically safe" for a human to just read the narrative. Resource definitions may define what content should be represented in the narrative to ensure clinical safety. | Contained resources do not have narrative. Resources that are not contained SHOULD have a narrative. In some cases, a resource may only have text with little or no additional discrete data (as long as all minOccurs=1 elements are satisfied). This may be necessary for data from legacy systems where information is captured as a "text blob" or where text is additionally entered raw or narrated and encoded information is added later. | [17 empty] | DomainResource.text | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Act.text?
Device.contained | Device.contained |  | inline resources anonymous resourcescontained resources |  | 0 | * |  |  |  | Resource | Contained, inline Resources | These resources do not have an independent existence apart from the resource that contains them - they cannot be identified independently, and nor can they have their own independent transaction scope. | This should never be done when the content can be identified properly, as once identification is lost, it is extremely difficult (and context dependent) to restore it again. Contained resources may have profiles and tags In their meta elements, but SHALL NOT have security labels. | [17 empty] | DomainResource.contained | 0 | * |  |  | N/A
Device.extension | Device.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the resource. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | DomainResource.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | N/A
Device.modifierExtension | Device.modifierExtension |  | extensions user content |  | 0 | * |  | Y |  | Extension | Extensions that cannot be ignored | May be used to represent additional information that is not part of the basic definition of the resource and that modifies the understanding of the element that contains it and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer is allowed to define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | DomainResource.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | N/A
Device.identifier | Device.identifier |  |  |  | 0 | * |  |  |  | Identifier | Instance identifier | Unique instance identifiers assigned to a device by manufacturers other organizations or owners. | The barcode string from a barcode present on a device label or package may identify the instance, include names given to the device in local usage, or may identify the type of device. If the identifier identifies the type of device, Device.type element should be used. | [17 empty] | Device.identifier | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .id | FiveWs.identifier | The serial number which is a component of the production identifier (PI), a conditional, variable portion of a UDI. The identifier.type code should be set to “SNO”(Serial Number) and the system left empty.
Device.definition | Device.definition |  |  |  | 0 | 1 |  |  |  | Reference(DeviceDefinition) | The reference to the definition for the device | The reference to the definition for the device. | [18 empty] | Device.definition | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.udiCarrier | Device.udiCarrier |  |  |  | 0 | * |  |  | Y | BackboneElement | Unique Device Identifier (UDI) Barcode string | Unique device identifier (UDI) assigned to device label or package. Note that the Device may include multiple udiCarriers as it either may include just the udiCarrier for the jurisdiction it is sold, or for multiple jurisdictions it could have been sold. | UDI may identify an unique instance of a device, or it may only identify the type of the device. See [UDI mappings](http://hl7.org/fhir/uv/ips/STU1.1/device-mappings.html#udi) for a complete mapping of UDI parts to Device. | [17 empty] | Device.udiCarrier | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .id and .code | FiveWs.identifier
Device.udiCarrier.id | Device.udiCarrier.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Device.udiCarrier.extension | Device.udiCarrier.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | n/a
Device.udiCarrier.modifierExtension | Device.udiCarrier.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | N/A
Device.udiCarrier.deviceIdentifier | Device.udiCarrier.deviceIdentifier |  | DI |  | 0 | 1 |  |  | Y | string | Mandatory fixed portion of UDI | The device identifier (DI) is a mandatory, fixed portion of a UDI that identifies the labeler and the specific version or model of a device. | [18 empty] | Device.udiCarrier.deviceIdentifier | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Role.id.extension | FiveWs.what[x] | The device identifier (DI), a mandatory, fixed portion of a UDI that identifies the labeler and the specific version or model of a device.
Device.udiCarrier.issuer | Device.udiCarrier.issuer |  | Barcode System |  | 0 | 1 |  |  |  | uri | UDI Issuing Organization | Organization that is charged with issuing UDIs for devices. For example, the US FDA issuers include : 1) GS1: http://hl7.org/fhir/NamingSystem/gs1-di, 2) HIBCC: http://hl7.org/fhir/NamingSystem/hibcc-dI, 3) ICCBBA for blood containers: http://hl7.org/fhir/NamingSystem/iccbba-blood-di, 4) ICCBA for other devices: http://hl7.org/fhir/NamingSystem/iccbba-other-di. | [18 empty] | Device.udiCarrier.issuer | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Role.id.root |  | All UDIs are to be issued under a system operated by an Jurisdiction-accredited issuing agency. GS1 DIs: http://hl7.org/fhir/NamingSystem/gs1 HIBCC DIs: http://hl7.org/fhir/NamingSystem/hibcc ICCBBA DIs for blood containers: http://hl7.org/fhir/NamingSystem/iccbba-blood ICCBA DIs for other devices: http://hl7.org/fhir/NamingSystem/iccbba-other
Device.udiCarrier.jurisdiction | Device.udiCarrier.jurisdiction |  |  |  | 0 | 1 |  |  |  | uri | Regional UDI authority | The identity of the authoritative source for UDI generation within a jurisdiction. All UDIs are globally unique within a single namespace with the appropriate repository uri as the system. For example, UDIs of devices managed in the U.S. by the FDA, the value is http://hl7.org/fhir/NamingSystem/fda-udi. |  | Allows a recipient of a UDI to know which database will contain the UDI-associated metadata. | [16 empty] | Device.udiCarrier.jurisdiction | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Role.scoper
Device.udiCarrier.carrierAIDC | Device.udiCarrier.carrierAIDC |  | Automatic Identification and Data Capture |  | 0 | 1 |  |  | Y | base64Binary | UDI Machine Readable Barcode String | The full UDI carrier of the Automatic Identification and Data Capture (AIDC) technology representation of the barcode string as printed on the packaging of the device - e.g., a barcode or RFID. Because of limitations on character sets in XML and the need to round-trip JSON data through XML, AIDC Formats *SHALL* be base64 encoded. | The AIDC form of UDIs should be scanned or otherwise used for the identification of the device whenever possible to minimize errors in records resulting from manual transcriptions. If separate barcodes for DI and PI are present, concatenate the string with DI first and in order of human readable expression on label. | [17 empty] | Device.udiCarrier.carrierAIDC | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Role.id.extension |  | A unique device identifier (UDI) on a device label a form that uses automatic identification and data capture (AIDC) technology.
Device.udiCarrier.carrierHRF | Device.udiCarrier.carrierHRF |  | Human Readable Form |  | 0 | 1 |  |  | Y | string | UDI Human Readable Barcode String | The full UDI carrier as the human readable form (HRF) representation of the barcode string as printed on the packaging of the device. | If separate barcodes for DI and PI are present, concatenate the string with DI first and in order of human readable expression on label. | [17 empty] | Device.udiCarrier.carrierHRF | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | Role.id.extension |  | A unique device identifier (UDI) on a device label in plain text
Device.udiCarrier.entryType | Device.udiCarrier.entryType |  |  |  | 0 | 1 |  |  |  | code | barcode ¦ rfid ¦ manual + | A coded entry to indicate how the data was entered. |  | Supports a way to distinguish hand entered from machine read data. | [8 empty] | required | Codes to identify how UDI data was entered. | http://hl7.org/fhir/ValueSet/udi-entry-type¦4.0.1 | [5 empty] | Device.udiCarrier.entryType | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | NA
Device.status | Device.status |  |  |  | 0 | 1 |  | Y | Y | code | active ¦ inactive ¦ entered-in-error ¦ unknown | Status of the Device availability. | This element is labeled as a modifier because the status contains the codes inactive and entered-in-error that mark the device (record)as not currently valid. | [9 empty] | required | The availability status of the device. | http://hl7.org/fhir/ValueSet/device-status¦4.0.1 | [5 empty] | Device.status | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .statusCode | FiveWs.status
Device.statusReason | Device.statusReason |  |  |  | 0 | * |  |  |  | CodeableConcept | online ¦ paused ¦ standby ¦ offline ¦ not-ready ¦ transduc-discon ¦ hw-discon ¦ off | Reason for the dtatus of the Device availability. | [10 empty] | extensible | The availability status reason of the device. | http://hl7.org/fhir/ValueSet/device-status-reason | [5 empty] | Device.statusReason | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.status
Device.distinctIdentifier | Device.distinctIdentifier |  | Distinct Identification Code (DIC) |  | 0 | 1 |  |  |  | string | The distinct identification string | The distinct identification string as required by regulation for a human cell, tissue, or cellular and tissue-based product. | For example, this applies to devices in the United States regulated under *Code of Federal Regulation 21CFR§1271.290(c)*. | [17 empty] | Device.distinctIdentifier | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .lotNumberText | FiveWs.what[x] | The lot or batch number within which a device was manufactured - which is a component of the production identifier (PI), a conditional, variable portion of a UDI.
Device.manufacturer | Device.manufacturer |  |  |  | 0 | 1 |  |  |  | string | Name of device manufacturer | A name of the manufacturer. | [18 empty] | Device.manufacturer | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .playedRole[typeCode=MANU].scoper.name | FiveWs.what[x] | N/A
Device.manufactureDate | Device.manufactureDate |  |  |  | 0 | 1 |  |  |  | dateTime | Date when the device was made | The date and time when the device was manufactured. | [18 empty] | Device.manufactureDate | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .existenceTime.low | FiveWs.what[x] | The date a specific device was manufactured - which is a component of the production identifier (PI), a conditional, variable portion of a UDI. For FHIR, The datetime syntax must converted to YYYY-MM-DD[THH:MM:SS]. If hour is present, the minutes and seconds should both be set to “00”.
Device.expirationDate | Device.expirationDate |  |  |  | 0 | 1 |  |  |  | dateTime | Date and time of expiry of this device (if applicable) | The date and time beyond which this device is no longer valid or should not be used (if applicable). | [18 empty] | Device.expirationDate | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .expirationTime | FiveWs.what[x] | the expiration date of a specific device - which is a component of the production identifier (PI), a conditional, variable portion of a UDI. For FHIR, The datetime syntax must converted to YYYY-MM-DD[THH:MM:SS]. If hour is present, the minutes and seconds should both be set to “00”.
Device.lotNumber | Device.lotNumber |  |  |  | 0 | 1 |  |  |  | string | Lot number of manufacture | Lot number assigned by the manufacturer. | [18 empty] | Device.lotNumber | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .lotNumberText | FiveWs.what[x] | The lot or batch number within which a device was manufactured - which is a component of the production identifier (PI), a conditional, variable portion of a UDI.
Device.serialNumber | Device.serialNumber |  |  |  | 0 | 1 |  |  |  | string | Serial number assigned by the manufacturer | The serial number assigned by the organization when the device was manufactured. | Alphanumeric Maximum 20. | [17 empty] | Device.serialNumber | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .playedRole[typeCode=MANU].id | FiveWs.what[x]
Device.deviceName | Device.deviceName |  |  |  | 0 | * |  |  |  | BackboneElement | The name of the device as given by the manufacturer | This represents the manufacturer's name of the device as provided by the device, from a UDI label, or by a person describing the Device. This typically would be used when a person provides the name(s) or when the device represents one of the names available from DeviceDefinition. | [18 empty] | Device.deviceName | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.deviceName.id | Device.deviceName.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Device.deviceName.extension | Device.deviceName.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | n/a
Device.deviceName.modifierExtension | Device.deviceName.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | N/A
Device.deviceName.name | Device.deviceName.name |  | Σ |  | 1 | 1 |  |  |  | string | The name of the device | The name of the device. | [18 empty] | Device.deviceName.name | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.deviceName.type | Device.deviceName.type |  |  |  | 1 | 1 |  |  |  | code | udi-label-name ¦ user-friendly-name ¦ patient-reported-name ¦ manufacturer-name ¦ model-name ¦ other | The type of deviceName. UDILabelName ¦ UserFriendlyName ¦ PatientReportedName ¦ ManufactureDeviceName ¦ ModelName. | [10 empty] | required | The type of name the device is referred by. | http://hl7.org/fhir/ValueSet/device-nametype¦4.0.1 | [5 empty] | Device.deviceName.type | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .playedRole[typeCode=MANU].code | FiveWs.what[x]
Device.modelNumber | Device.modelNumber |  |  |  | 0 | 1 |  |  |  | string | The model number for the device | The model number for the device. | [18 empty] | Device.modelNumber | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .softwareName (included as part) | FiveWs.what[x]
Device.partNumber | Device.partNumber |  |  |  | 0 | 1 |  |  |  | string | The part number of the device | The part number of the device. | Alphanumeric Maximum 20. | [17 empty] | Device.partNumber | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .playedRole[typeCode=MANU].id | FiveWs.what[x]
Device.type | Device.type |  |  |  | 0 | 1 | Y |  |  | CodeableConcept {http://hl7.org/fhir/uv/ips/StructureDefinition/CodeableConcept-uv-ips} | Type of device. Preferably valued by using SNOMED CT. The absence of information, or of devices relevant for purpose of this IPS, shall be explicitly stated by using the codes included in the absent-or-unknown-devices-uv-ips value set. | A concept that may be defined by a formal reference to a terminology or ontology or may be provided by text. | Not all terminology uses fit this general pattern. In some cases, models should not use CodeableConcept and use Coding directly and provide their own structure for managing text, codings, translations and the relationship between elements and pre- and post-coordination. | [9 empty] | preferred | The type of device or a code for absent/unknown device | http://hl7.eu/fhir/ig/xpandh/hdr/ValueSet/medical-devices-snomed-absent-unknown-xpandh-vs | [5 empty] | Device.type | 0 | 1 | ele-1 | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | CD
Device.specialization | Device.specialization |  |  |  | 0 | * |  |  |  | BackboneElement | The capabilities supported on a device, the standards to which the device conforms for a particular purpose, and used for the communication | The capabilities supported on a device, the standards to which the device conforms for a particular purpose, and used for the communication. | [18 empty] | Device.specialization | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.specialization.id | Device.specialization.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Device.specialization.extension | Device.specialization.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | n/a
Device.specialization.modifierExtension | Device.specialization.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | N/A
Device.specialization.systemType | Device.specialization.systemType |  | Σ |  | 1 | 1 |  |  |  | CodeableConcept | The standard that is used to operate and communicate | The standard that is used to operate and communicate. | [18 empty] | Device.specialization.systemType | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.specialization.version | Device.specialization.version |  |  |  | 0 | 1 |  |  |  | string | The version of the standard that is used to operate and communicate | The version of the standard that is used to operate and communicate. | [18 empty] | Device.specialization.version | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x]
Device.version | Device.version |  |  |  | 0 | * |  |  |  | BackboneElement | The actual design of the device or software version running on the device | The actual design of the device or software version running on the device. | [18 empty] | Device.version | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.version.id | Device.version.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Device.version.extension | Device.version.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | n/a
Device.version.modifierExtension | Device.version.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | N/A
Device.version.type | Device.version.type |  | Σ |  | 0 | 1 |  |  |  | CodeableConcept | The type of the device version | The type of the device version. | [18 empty] | Device.version.type | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.version.component | Device.version.component |  |  |  | 0 | 1 |  |  |  | Identifier | A single component of the device version | A single component of the device version. | [18 empty] | Device.version.component | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | FiveWs.what[x]
Device.version.value | Device.version.value |  |  |  | 1 | 1 |  |  |  | string | The version text | The version text. | [18 empty] | Device.version.value | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.property | Device.property |  |  |  | 0 | * |  |  |  | BackboneElement | The actual configuration settings of a device as it actually operates, e.g., regulation status, time properties | The actual configuration settings of a device as it actually operates, e.g., regulation status, time properties. | [18 empty] | Device.property | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.property.id | Device.property.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Device.property.extension | Device.property.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [17 empty] | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | n/a
Device.property.modifierExtension | Device.property.modifierExtension |  | extensions user contentmodifiers |  | 0 | * |  | Y | Y | Extension | Extensions that cannot be ignored even if unrecognized | May be used to represent additional information that is not part of the basic definition of the element and that modifies the understanding of the element in which it is contained and/or the understanding of the containing element's descendants. Usually modifier elements provide negation or qualification. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. Applications processing a resource are required to check for modifier extensions. Modifier extensions SHALL NOT change the meaning of any elements on Resource or DomainResource (including cannot change the meaning of modifierExtension itself). | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | Modifier extensions allow for extensions that *cannot* be safely ignored to be clearly distinguished from the vast majority of extensions which can be safely ignored. This promotes interoperability by eliminating the need for implementers to prohibit the presence of extensions. For further information, see the [definition of modifier extensions](http://hl7.org/fhir/R4/extensibility.html#modifierExtension). | [16 empty] | BackboneElement.modifierExtension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | N/A
Device.property.type | Device.property.type |  |  |  | 1 | 1 |  |  |  | CodeableConcept | Code that specifies the property DeviceDefinitionPropetyCode (Extensible) | Code that specifies the property DeviceDefinitionPropetyCode (Extensible). | [18 empty] | Device.property.type | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.property.valueQuantity | Device.property.valueQuantity |  |  |  | 0 | * |  |  |  | Quantity | Property value as a quantity | Property value as a quantity. | [18 empty] | Device.property.valueQuantity | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.property.valueCode | Device.property.valueCode |  |  |  | 0 | * |  |  |  | CodeableConcept | Property value as a code, e.g., NTP4 (synced to NTP) | Property value as a code, e.g., NTP4 (synced to NTP). | [18 empty] | Device.property.valueCode | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}
Device.patient | Device.patient |  |  |  | 1 | 1 | Y |  |  | Reference(http://hl7.eu/fhir/ig/xpandh/hdr/StructureDefinition/Patient-eu-xpandh) | Patient to whom Device is affixed | Patient information, If the device is affixed to a person. |  | If the device is implanted in a patient, then need to associate the device to the patient. | [16 empty] | Device.patient | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .playedRole[typeCode=USED].scoper.playedRole[typeCode=PAT] | FiveWs.subject
Device.patient.id | Device.patient.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  | n/a
Device.patient.extension | Device.patient.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [13 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} | n/a
Device.patient.reference | Device.patient.reference |  |  |  | 1 | 1 | Y |  | Y | string | Literal reference, Relative, internal or absolute URL | A reference to a location at which the other resource is found. The reference may be a relative reference, in which case it is relative to the service base URL, or an absolute URL that resolves to the location where the resource is found. The reference may be version specific or not. If the reference is not to a FHIR RESTful server, then it should be assumed to be version specific. Internal fragment references (start with '#') refer to contained resources. | Using absolute URLs provides a stable scalable approach suitable for a cloud/web context, while using relative/logical references provides a flexible approach suitable for use when trading across closed eco-system boundaries. Absolute URLs do not need to point to a FHIR RESTful server, though this is the preferred approach. If the URL conforms to the structure "/[type]/[id]" then it should be assumed that the reference is to a FHIR RESTful server. | [17 empty] | Reference.reference | 0 | 1 | ref-1 | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Device.patient.type | Device.patient.type |  |  |  | 0 | 1 |  |  | Y | uri | Type the reference refers to (e.g. "Patient") | The expected type of the target of the reference. If both Reference.type and Reference.reference are populated and Reference.reference is a FHIR URL, both SHALL be consistent. The type is the Canonical URL of Resource Definition that is the type this reference refers to. References are URLs that are relative to http://hl7.org/fhir/StructureDefinition/ e.g. "Patient" is a reference to http://hl7.org/fhir/StructureDefinition/Patient. Absolute URLs are only allowed for logical models (and can only be used in references in logical models, not resources). | This element is used to indicate the type of the target of the reference. This may be used which ever of the other elements are populated (or not). In some cases, the type of the target may be determined by inspection of the reference (e.g. a RESTful URL) or by resolving the target of the reference; if both the type and a reference is provided, the reference SHALL resolve to a resource of the same type as that specified. | [9 empty] | extensible | Aa resource (or, for logical models, the URI of the logical model). | http://hl7.org/fhir/ValueSet/resource-types | [5 empty] | Reference.type | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Device.patient.identifier | Device.patient.identifier |  |  |  | 0 | 1 |  |  | Y | Identifier | Logical reference, when literal reference is not known | An identifier for the target resource. This is used when there is no way to reference the other resource directly, either because the entity it represents is not available through a FHIR server, or because there is no way for the author of the resource to convert a known identifier to an actual location. There is no requirement that a Reference.identifier point to something that is actually exposed as a FHIR instance, but it SHALL point to a business concept that would be expected to be exposed as a FHIR instance, and that instance would need to be of a FHIR resource type allowed by the reference. | When an identifier is provided in place of a reference, any system processing the reference will only be able to resolve the identifier to a reference if it understands the business context in which the identifier is used. Sometimes this is global (e.g. a national identifier) but often it is not. For this reason, none of the useful mechanisms described for working with references (e.g. chaining, includes) are possible, nor should servers be expected to be able resolve the reference. Servers may accept an identifier based reference untouched, resolve it, and/or reject it - see CapabilityStatement.rest.resource.referencePolicy. When both an identifier and a literal reference are provided, the literal reference is preferred. Applications processing the resource are allowed - but not required - to check that the identifier matches the literal reference Applications converting a logical reference to a literal reference may choose to leave the logical reference present, or remove it. Reference is intended to point to a structure that can potentially be expressed as a FHIR resource, though there is no need for it to exist as an actual FHIR resource instance - except in as much as an application wishes to actual find the target of the reference. The content referred to be the identifier must meet the logical constraints implied by any limitations on what resource types are permitted for the reference. For example, it would not be legitimate to send the identifier for a drug prescription if the type were Reference(Observation¦DiagnosticReport). One of the use-cases for Reference.identifier is the situation where no FHIR representation exists (where the type is Reference (Any). | [17 empty] | Reference.identifier | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .identifier
Device.patient.display | Device.patient.display |  |  |  | 0 | 1 |  |  | Y | string | Text alternative for the resource | Plain text narrative that identifies the resource in addition to the resource reference. | This is generally not the same as the Resource.text of the referenced resource. The purpose is to identify what's being referenced, not to fully describe it. | [17 empty] | Reference.display | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A
Device.owner | Device.owner |  |  |  | 0 | 1 |  |  |  | Reference(Organization) | Organization responsible for device | An organization that is responsible for the provision and ongoing maintenance of the device. | [18 empty] | Device.owner | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .playedRole[typeCode=OWN].scoper | FiveWs.source
Device.contact | Device.contact |  |  |  | 0 | * |  |  |  | ContactPoint | Details for human/organization for support | Contact details for an organization or a particular human that is responsible for the device. | used for troubleshooting etc. | [17 empty] | Device.contact | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .scopedRole[typeCode=CON].player | FiveWs.source
Device.location | Device.location |  |  |  | 0 | 1 |  |  |  | Reference(Location) | Where the device is found | The place where the device can be found. |  | Device.location can be used to track device location. | [16 empty] | Device.location | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .playedRole[typeCode=LOCE].scoper | FiveWs.where[x]
Device.url | Device.url |  |  |  | 0 | 1 |  |  |  | uri | Network address to contact device | A network address on which the device may be contacted directly. | If the device is running a FHIR server, the network address should be the Base URL from which a conformance statement may be retrieved. | [17 empty] | Device.url | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .telecom | FiveWs.where[x]
Device.note | Device.note |  |  |  | 0 | * |  |  |  | Annotation | Device notes and comments | Descriptive information, usage information or implantation information that is not captured in an existing element. | [18 empty] | Device.note | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | .text
Device.safety | Device.safety |  |  |  | 0 | * |  |  | Y | CodeableConcept | Safety Characteristics of Device | Provides additional safety characteristics about a medical device. For example devices containing latex. | [18 empty] | Device.safety | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | NA
Device.parent | Device.parent |  |  |  | 0 | 1 |  |  |  | Reference(Device) | The parent device | The parent device. | [18 empty] | Device.parent | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())}